{"text_format":"3","workbook":"xls","n_sheets":7,"sheets":["Cuencas","Formulas","R-AA-11 MON CALIDA AGUA SUPER","%o2","ico","PARAM REQ","EJEMPLOS"],"not_rendered":{"charts":2,"images":1,"external_links":1,"defined_names":7},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Cuencas","index":0,"n_rows":108,"n_cols":15,"rows_kept":108,"merged":[[0,2,0,3]],"flags":["formulas_cached_only"]}
["CUENCA","MUNICIPIO","COORDENADAS N, W"]
[null,null,"Después del Carmelo","Antes Carmelo Arboletes","Puente Candelaria Arboletes","Despues Candelaria ","Vda Tigre","Bocatoma","Mezcla San Juancito","Q. San Juancito","Bocas de San Juan","Antes del área Urbana de San Pedro","Despues area urbana de san pedro","Santa Catalina antes de area urbana","Santa Catalina despues de area urbana"]
["Río San Juan","San Pedro de Urabá, Arboletes, San Juan de Urabá","N 8º37'02,5\" W 76º23'00,5\"","N 8º36'34,6\" W 76º22'56,4\"","N 8º39'33,7\" W 76º26'45,1\"","N 8º39'42,8\"W 76º27'15,4\"","N 8º40'54,7\" W 76º28'42,4\"","N 8º44'45,6\" W 76º29'03,9\" ","N 8º41'56,7\" W 76º29'33,1\"","N 8º41'37,8\" W 76º29'43\"","N 8º46'48\" W 76º30'51,5\"","N 8º15'50,3\" W 76º22'59,6\"","N 8º17'24,2\" W 76º22'53,2\"","N 8º23'23,4\" W 76º19'11,0\"","N 8º23'59,3\" W  76º18'56,1\""]
[null,null,"Bocatoma","Margen Noreste","Centro","Salida Marimonda","Caño Arizal Desmb"]
["Cienaga El Salado","Necocli","N 8º30'8,9\" W 76º48'12,1\"","N 8º30'34,7\" W 76º47'21,3\"","N 8º30'29,1\" W 76º47'40,9\"","N 8º30'55,5\" W 76º48'17,5\"","N 8º30'11,8\" W 76º47'30,4\""]
[null,null,"Antes bocatoma","Brazo derecho","Brazo izquierdo"]
["Represa El Bote","Arboletes","N 8º49'54,2\" W 76º26'16,5\"","N 8º49'45,7\" W 76º26'21,6\"","N 8º49'52,3\" W 76º26'16,4\""]
[null,null,"Antes urbana","Desembocadura"]
["Río Volcán","Arboletes","N 8º50'22,2\" W 76º25'5\"","N 8º51'17,3\" W 76º25'30,3\""]
[null,null,"Nacimiento","Bocatoma","Desembocadura"]
["Quebrada Aguas Claras","San Pedro de Urabá","N 8º16'03,4\" W 76º23'30,4\"","N 8º16'40,7\" W 76º23'24,5\"","N 8º17'08,5\" W 76º23'25,6\""]
[null,null,"Antes de Pueblo Bello","Después de Pueblo Bello","Antes de San Jose de Mulatos","Después de San Jose de Mulatos"]
["Rio Mulatos","Turbo, San Pedro","N 8º12'17,2\" W 76º31'24,2\"","N 8º12'32,4\" W 76º31'37,1\"","N 8º21'36,2\" W 76º28'53,1\"","N 8º23'28,5\" W 76º1'27,6\""]
[null,null,"Antes de desembocadura Rio grande","Puerto Giron","Antes desembocadura Rio Apartadó","Antes de río Carepa","Aguas Arriba, deesembocadura del rio Chigorodó","Desembocadura"]
["Río León","Chigorodó, Carepa, Apartadó, Turbo","N 7º55'0,0\" W 76º44'26,9\"","N 7º54'20\" W 76º44'16,7\"","N 7º54'13,2\" W 76º44'26,4\"","N 7º47'35,9\" W 76º48'36,4\"","N 7º46'09,9\" W 76º48'53,6\"","N 7º56'03,5\" W 76º44'50,4\""]
[null,null,"Antes de urbanización los almendros","Despues Fca Sacramento","Desembocadura"]
["Río Vijagüal","Carepa, Apartadó","N 7º48'00,3\" W 76º38'12,9\"","N 7º47'30,9\" W 76º39'47,7\""]
[null,null,"Bocatoma","Antes urbana","Presea","Salida Urbana","Desembocadura Churido","Desembocadura "]
["Río Apartadó","Apartadó","N 7º51'20,8\" W 76º35'24,5\"","N 7º52'24,7\" W 76º36'25,1\"",null,null,"N 7º52'40,0\" W 76º40'59,1\""]
[null,null,"Bocatoma","Antes del dos","Puente el Dos","Desembocadura"]
["Río Turbo","Turbo","N 8º7'41\" W 76º42'8,5\"","N 8º7'48,1\" W 76º40'57,4\"","N 8º7'36,9\" W 76º41'33\"","N 8º7'33,4\" W 76º44'37,9\""]
[null,null,"Aguas arriba rio carabayo y la arenera","Antes urbana","Despues urbana","Desembocadura"]
["Río Currulao","Turbo","N 8º00'34,8\" W 76º36'13,5\"","N 7º59'37,3\" W 76º37'43,7\"","N 7º59'20,5\" W 76º38'30,5\"","N 8º01'08,9\" W 76º43'16,9\""]
[null,null,"Desembocadura Piedras Blancas","Antes urbana","Despues Urbana","Desembocadura rio Carepa"]
["Río Carepa","Carepa","N 7º44'46,7\" W 76º33'34,7\"","N 7º45'26,5\" W 76º38'22,1\"","N 7º45'50,6\" W 76º39'34,8\""]
[null,null,"Antes botadero ripea","Despues botadero Ripea","Punto Captacion","Vert Alcantarillado","Desembocadura"]
["Río Chigorodó","Chigorodó","N 7º40'30,2\" W 76º38'37\"","N 7º40'24,4\" W 76º38'52,5\"","N 7º40'16,1\" W 76º40'55,4\"","N 7º40'44,9\" W 76º41'32,3\"","N 7º43'56,2\" W 76º45'36,6\""]
[null,null,"Desembocadura","Aguas abjo Churido","Antes Churido Pueblo","Finca la Teca"]
["Río Churido","Apartadó","N 7º52'42,2\" W 76º40'52,8\"","N 7º52'08,9\" W 76º39'59,4\"","N 7º51'54,1\" W 76º39'50,7\"","N 7º50'49,8\" W 76º38'25,3\""]
[null,null,"Bocatoma  Q Daida","Bocatoma las sabaletas","Antes de cabecera Mcipal","Desembocadura"]
["Río Mutatá","Mutatá","N 7º14'55,9\" W 76º25'59,1\"","N 7º14'24,4\" W 76º24'28,4\"","N 7º14'27,9\" W 76º25'54,4\"","N7º13'58,6\" W 76º26'20,7\""]
[null,null,"Desembocadura","Antes centro poblado","Despues centro poblado","Choromando"]
["Río Grande","Turbo, Apartadó",null,null,"N 7º55'33,1\" W 76º37'34,2\"","N 7º56'43,3\" W 76º35'55,7\""]
[null,null,"Desembocadura","Antes de la Lucila"]
["Puerto Tranca","Turbo","N 8º05'51,1\" W 76º43'49,7\"","N 8º06'13,1\" W 76º42'57,4\""]
[null,null,"Bocatoma"]
["Quebrada San Felipe","Turbo","N 8º7'27,8\" W 76º39'16,3\""]
[null,null,"Desembocadura"]
["Quebrada Los Indios","Turbo","N 8º08'23,2\" W 76º40'27,7\""]
[null,null,"Desembocadura"]
["Caño Veranillo Chucunate","Turbo","N 8º05'25,6\" W 76º43'37,1\""]
[null,null,"Bocatoma"]
["Quebrada La Cristalina","Carepa","N 7º42'57,7\" W 76º31'52,5\""]
[null,null,"El Limón","aborgánicos","Despues del pueblo","Desembocadura","Antes del pueblo"]
["Rio Guadualito","Turbo","N 8º04'54,6\" W 76º36'45,8\"","N 8º04'21,9\" W 76º39'05,2\"","N 8º03'36,9\" W 76º39'49,5\"","N 8º01'39,8\" W 76º42'43,5\"","N 8º03'56,5\" W 76º39'26,2\""]
[null,null,"Antes de lomaverde","Debajo de Uniban"]
["Rio Zungo","Apartadó","N 7º49'18,5\" W 76º38'26,4\"","N 7º49'39,5\" W 76º39'06,3\""]
[null,null,"Antes de area urbana","Después de área urbana"]
["Caño Guerrero","Turbo","N 7º56'6,7\" W 76º42'38,8","N 7º56'19,9\" W 76º42'56,6\""]
[null,null,"Desembocadura"]
["Caño Banacol","Turbo","N 7º55'48,6\" W 76º43'1,1\""]
[null,null,"Desembocadura"]
["Caño Banadex","Turbo","N 7º55'55,9\" W 76º43'4\""]
[null,null,"Rio Sucio Antes desembocadura Mutatá","Rio Sucio antes Dabeiba","Despues de Dabeiba","Aguas arriba Uramita","Aguas abajo Uramita","Aguas Arriba Cañasgordas","Aguas Abajo Cañasgordas"]
["Río Sucio","Cañasgordas, Dabeiba, Uramita, Mutatá","N 7º13'55,5\" W 76º26'18,7\"","N 6º59'09,6\" W 76º15'11,3\"","N 7º06'18,1\" W 76º16'35,9\"","N 6º53'25,1\" W 76º10'01,9\"","N 6º53'54,2\" W 76º11'12,4\"",null,"N 6º45'39,7\" W 76º02'08,6\""]
[null,null,"Bocatoma","Desembocadura"]
["Quebrada la Cerrazon","Dabeiba","N 6º59'51,9\" W 76º17'28,9\"","N 7º00'20,4\" W 76º17'00,7\""]
[null,null,"Despues Q la Estrella","Antes Bocatoma","Desembocadura al rio Sucio"]
["Quebrada Antado","Dabeiba","N 7º02'40,5\" W 76º16'44\"","N 7º01'18,8\" W 76º16'36,8\"","N 7º00'39,4\" W 76º16'54,2\""]
[null,null,"Bocatoma","Desembocadura a la guinea","Aguas arriba barrio Santa Ana","Desembocadura al Rio Sucio"]
["Quebrada la Encalichada","Uramita","N 6º56'25,1\" W 76º10'34,7\"","N 6º55'34,4\" W 76º10'18,6\"","N 6º54'13,2\" W 76º10'30,9\"","N 6º53'59\" W 76º10'38,1\""]
[null,null,"Bocatoma","Arriba bocatoma","Desembocadura"]
["Quebrada El Tambor","Peque","N 7º01'55,8\" W 75º54'56,8\"","N 7º01'58,1\" W 75º55'20,8\"","N 7º01'39,3\" W 75º55'01,6\""]
[null,null,"Llano adentro","Arriba Bocatoma","Bocat Borracheral","Desembocadura","Despues de caserio Apucarco"]
["Quebrada Apucarco ","Cañasgordas","N 6º43'14,7\" W 76º02'05,3\"","N 6º43'49,5\" W 76º01'38,7\"","N 6º43'56,5\" W 76º01'08,0\"","N 6º44'37,4\" W 76º01'28,8\"","N 6º44'20,8\" W 76º01'34,6\""]
[]
["Quebrada La Auyamera","Abriaqui"]
[null,null,"Bocatoma","Bocatoma la Lulera","Abajo Palmichal","Union Tambo y Luna","Arriba puente Quebrada Puna","Desembocadura Q. Puna"]
["Quebrada El Tambo","Giraldo","N 6º40'02,0\" W 75º57'36,1\"","N 6º40'3,9\" W 75º57'37\"","N 6º40'22,4\" W 75º57'45,4\"","N 6º40'43,5\" W 75º57'49,6\"","N 6º41'27,7\" W 75º57'39,2\""]
[]
["Río Tonuzco","Giraldo"]
[null,null,"Bocatoma"]
["Quebrada La Piedrahita","Frontino","N 6º43'56,3\" W 76º08'36,9\""]
[null,null,"Despues Q Granada","Bocatoma","Despues Q la Ana","Despues Q el Paso","desembocadura"]
["Río Urrao","Urrao","N 6º23'13,18\" W 76º04'54,9\"","N 6º20'36,1\" W 76º05'16,1\"","N 6º20'12,9\" W 76º05'28,1\"","N 6º20'14,1\" W 76º07'28,2\""]
[null,null,"Aguas arriba","Desembocadura"]
["Rio Uramita","Uramita","N 6º53'25,1\" W 76º10'1,9\"","N 6º53'56,3\" W 76º10'29,6\""]
[null,null,"Bocatoma","Desembocadura"]
["Quebrada La Carmelita","Frontino","N 6º41'41,4\" W 76º08'23,3\"","N 6º42'33,7\" W 76º08'56,6\""]
[null,null,"Aguas abajo mineria y vereda","Puente el cerro"]
["Quebrada El Cerro","Frontino","N 6º42'26,5\" W 76º09'03,7\"","N 6º44'28,8\" W 76º08'47,8\""]
[null,null,"Aguas Arriba Frontino","Desembocadura"]
["Quebrada Nore","Frontino","N 6º45'40,8\" W 76º07'53,0\""]
[null,null,"Aguas abajo casco urbano"]
["Rio Frontino","Frontino","N 6º44'28,8\" W 76º08'47,8\""]
[null,null,"Aguas Arriba","Desembocadura"]
["Quebrada La Común","Frontino","N 6º46'37,9\" W 76º07'35,8\"","N 6º 47'35,8\" W 76º07'35,5\""]
[null,null,"Aguas abajo Urrao","Puente la magdalena"]
["Penderisco","Urrao","N 6º19'45,4\" W 76º08'56,6\"","N 6º17'54\" W 76º08'04,2\""]
[null,null,"Bocatoma"]
["Quebrada Los Chorros","Abriaqui","N 6º38'41,3\" W 76º03'07,3\""]
[null,null,"Desembocadura a la Q. San Pedro"]
["Santa Ana","Abriaqui","N 6º38'08,7\" W 75º03'43,5\""]
[null,null,"Arriba del Pueblo","Abajo del pueblo"]
["San Juan (Peque)","Peque","N 7º02'18,5\" W 75º54'07,6\"","N 7º01'04,6\" W 75º54'21,8\""]
[null,null,"Arriba del Pueblo","Abajo del pueblo"]
["Rio Peque","Peque","N 7º01'16,6\" W 75º54'55,7\"","N 7º01'10,2\" W 75º54'47,4\""]
[null,null,"Aguas arriba Abriaquí","Aguas abajo casco urbano"]
["Quebrada San Pedro","Abriaqui","N 6º38'3,2\" W 76º3'48,8\"","N 6º37'55,1\" W 76º3'58,9\""]
[]
["Quebrada La Herradura","Abriaquí"]
[]
[]
["OBSERVACIONES"]
["Los colores indican la zona en estudio"]
["Zona Norte"]
["Zona Centro"]
["Zona Occidente"]

{"sheet":"Formulas","index":1,"n_rows":72,"n_cols":7,"rows_kept":72,"flags":["formulas_cached_only"]}
["ICOMI","Indice de Contaminacion por Minerales"]
["si Alc >250, I de Alc = 1"]
["si Alc <50, I de Alc = 0"]
["si dureza >110, indice de dureza = 1"]
["si dureza <30, indice de dureza = 0"]
["si cond >270, indice de cond = 1"]
[{"$nulls":4}," "]
["ICOMI = 1/3 (I CONDUCTIVIDAD + I DUREZA + I ALCALINIDAD)"]
[]
[]
["ICOMO","Indice de Contaminacion por Materia Organica"]
["si el %O2  > 100%  el indice de 02 = 0"]
["si la DBO es > 30, indice de DBO = 1"]
["si la DBO es < 2, indice de DBO = 0"]
["si CTS es > 20000, indice de CTS = 1"]
["si CTS es < 500, indice de CTS = 0"]
[]
[]
["ICOMO = 1/3 (IDBO + I COLIFORMES TOTALES + I PORCENTAJE DE OXIGENO)"]
[]
[]
["ICOTRO","Indice de contaminacion trofico"]
["oligotrofico","< 0,01"]
["mesotrofia","0,01-0,02"]
["eutrofia","0,02-1,0"]
["hiperetrofia",">1,00"]
[]
[]
["ICOSUS","Indice de contaminacion por sólidos suspendidos"]
["si SST es",">340","ICOSUS = 1"]
[null,"<10","ICOSUS= 0"]
["ICOSUS = 0.02+0.003*SOLIDOS SUSPENDIDOS "]
[]
[]
["ICA","Indice de comtaminacion ambiental "]
[{"$nulls":4},"PARAMETRO","RANGO","VALOR I"]
["NSF WQI = ∑wiIi",{"$nulls":3},"%sat O2",">140 %",50]
[{"$nulls":4},"Coli totales",">105 /100 ml",2]
["CALIDAD","RANGO","COLOR",null,"PH","-","-"]
["Muy mala","0 – 25","rojo",null,"DBO5",">30 mg/l",2]
["Mala","26 – 50","Naranja",null,"Nitratos ",">100 mg/l",50]
["Media","51 – 70","Amarillo",null,"Fosfatos totales",">10 mg/l",2]
["Buena","71 – 90","Verde",null,"D temp",">15°C",5]
["Excelente","91 – 100","azul",null,"Turbidez",">100 JTU",5]
[{"$nulls":4},"Solidos totales",">500 mg/l",20]
[]
["Tipo muestreo"]
["Integrada"]
["Compuesta"]
["Puntual"]
[]
["Sust flot"]
["Presencia"]
["Ausencia"]
[]
["Sustrato"]
["Arenoso"]
["Pedregoso"]
["Fangoso"]
["Vegetación"]
[]
["Calidad agua"]
["Muy Clara"]
["Clara"]
["Muy Turbia"]
["Turbia"]
["Otros"]
[]
["Epoca"]
["Verano"]
["Invierno"]
["Transición"]

{"sheet":"R-AA-11 MON CALIDA AGUA SUPER","index":2,"n_rows":39,"n_cols":256,"rows_kept":39,"merged":[[6,7,6,9],[8,1,8,5],[8,42,8,44],[8,45,8,46],[8,47,8,48],[8,49,8,50],[8,51,8,52],[8,55,8,56],[8,58,8,59],[35,1,35,2],[36,1,36,2],[37,1,37,2],[38,1,38,2]],"flags":["formulas_cached_only"]}
[]
[null,"MONITOREO DE CALIDAD DE AGUAS SUPERFICIALES"]
[null,"R-AA-11"]
[null,"04"]
[]
["TRD:","Dep","Serie","Subserie","Tipo Documental","Nº. Cons"]
[{"$nulls":7},"Fecha de Corte de la Vigencia:"]
[]
["Municipio:",{"$nulls":5},"Fuente:",{"$nulls":35},"Turbiedad",null,null,"pH",null,"Oxigeno",null,"DBO (mg/L)",null,"PO4 (ug/L)",null,"CFS (NMP/100 ml)",null,"Solidos Totales",null,null,"Nitratos",{"$nulls":196},"Tipo muestreo"]
["Sitio de Muestreo","Fecha","Año","Código","Temperatura (°C)","ALC (mg/L)","TUR (NTU)","DUR (mg/L)","CL (mg/L)","CON (uS/cm)","PH","OD (mg/L)","DBO (mg/L)","DQO(mg/L)","PO4 (mg/L)","NO2 (ug/L)","SO4 (mg/L)","Fe (mg/L)","CTS (NMP/100 ml)","CFS (NMP/100 ml)","ST (mg/L)","SST (mg/L)","Zn (ug/L)","Pb (ug/L)","Cd (ug/L)","Cu (ug/L)","NO3 (mg/L)","NH4 (ug/L)","Hg (ug/L)","Altura (m)","%sat","I de alcalinida","I de dureza","I de cond","ICOMI","I de oxigeno","I de DBO","I de coliformes","ICOMO","PO4 (mg/l)","ICOTRO","ICOSUS","TUR (JTU)","I","WiIi","I","WiIi","I","WiIi","I","WiIi","I","WiIi","I","WiIi","I","WiIi","NO3 (mg/l)","I","WiIi","ICA","Calidad","Tipo Muestra","Hora","Epoca","Olor","Sustancias Flotantes","Sustrato","Calidad","Temperatura Ambiental","Descripción","%sat O2 campo","Responsable","Q (m3/sg)","Q L/seg","SDT mg/L",{"$nulls":179},"Integrada"]
[{"$nulls":255},"Compuesta"]
[{"$nulls":255},"Puntual"]
[]
[{"$nulls":255},"Sust flot"]
[{"$nulls":255},"Presencia"]
[{"$nulls":255},"Ausencia"]
[]
[{"$nulls":255},"Sustrato"]
[{"$nulls":255},"Arenoso"]
[{"$nulls":255},"Pedregoso"]
{"$rows_empty":15}
["Información","color de nomenclatura"]
["Periodo sin datos de muestreo","Rojo"]
["Datos no entregados aun por laboratorio","Verde"]
["Indices de contaminacion ICO","Amarillo"]

{"sheet":"%o2","index":3,"n_rows":57,"n_cols":29,"rows_kept":57,"flags":["formulas_cached_only"]}
[null,null,"ESTACION","TEMP","TEMP2","O","ALTURA","#*ALT","P","TE","TE2","TE3","TE4","#/TE","#/TE2","pw","PW","#/TE","#/TE2","#/TE3","#/TE4","Ss","S","1-PW/P","1-O*P","1-PW","OP","O2","%SATUR"]
[null,null,"EJEMPLO",25.8,665.64,0.0006499325903999999,130,-0.015762500000000002,0.9859646022476075,298.95,89371.1025,26717491.092374995,7987193962.065505,12.847298879411273,2.4276415298781844,{"v":-3.4178404092894565,"d":"-3.41784"},0.03278315674722718,527.0784412109049,743.2277116644052,465.53772421953676,107.9471594273184,2.097194338718012,8.143290516747703,0.9809853630119202,0.9993591894720185,0.9672168432527728,8.143290516747703,5.8,{"v":0.7122427952277485,"d":"71.22%"}]
["FECHA","NOMBRE","SITIO1-1",21.5,462.25,0.00069816041,700,-0.084875,0.9201235491682277,294.65,86818.62249999998,25581107.119624995,7537473212.797504,13.034787035465808,2.4990145403424253,{"v":-3.676701575808232,"d":"-3.67670"},0.025306308264558857,534.7704055659258,765.0787133831801,486.2182055622593,114.38778960250522,2.1780081424997206,8.828703214447563,1.059307407811205,0.999357606165662,0.9746936917354412,8.828703214447563,null,{"v":0,"d":"0.00%"}]
["2003-05-14","APUCARCO","AP01",16,256,0.0007633161599999999,1700,-0.206125,0.8150569218810529,289.15,83607.72249999999,24175172.960874993,6990251261.637004,13.282725229119835,2.5949875623032312,{"v":-4.020612791423066,"d":"-4.02061"},0.017941966886669717,544.9424174303995,794.4610618953292,514.4947678401148,123.34247621852836,2.289547156656738,9.870466893738703,1.2048950284930517,0.9993778538802084,0.9820580331133303,9.870466893738703,7.23,{"v":0.732488146491462,"d":"73.25%"}]
["2003-05-14","APUCARCO","AP02",18,324,0.0007391726399999999,1530,-0.1855125,0.8320316272337409,291.15,84768.32249999998,24680297.09587499,7185668499.464004,13.191482053924094,2.559458458081438,{"v":-3.8938405120055313,"d":"-3.89384"},0.020366976027830788,541.1990382964109,783.5837496961204,503.9647598925727,119.98812637464603,2.2478221182171154,9.467095153961308,1.1773987813770486,0.9993849849855342,0.9796330239721692,9.467095153961308,1.84,{"v":0.19435740003416893,"d":"19.44%"}]
["2003-05-14","APUCARCO","AP03",19,361,0.0007272939599999999,1500,-0.181875,0.8350636534322887,292.15,85351.62249999998,24935476.51337499,7284899463.3825035,13.1463289406127,2.541966908713423,{"v":-3.8311958493261216,"d":"-3.83120"},0.021683669717420213,539.3465685435565,778.2286739774632,498.80739168262755,118.35371295565803,2.2274732930627437,9.276397704683365,1.1715470147233593,0.9993926632486432,0.9783163302825798,9.276397704683367,5.29,{"v":0.570264467782493,"d":"57.03%"}]
["2003-05-14","APUCARCO","AP04",19,361,0.0007272939599999999,1440,-0.1746,0.8411608933294723,292.15,85351.62249999998,24935476.51337499,7284899463.3825035,13.1463289406127,2.541966908713423,{"v":-3.8311958493261216,"d":"-3.83120"},0.021683669717420213,539.3465685435565,778.2286739774632,498.80739168262755,118.35371295565803,2.2274732930627437,9.276397704683365,1.1630549375758787,0.9993882287628932,0.9783163302825798,9.276397704683365,2.16,{"v":0.2328490076389764,"d":"23.28%"}]
["2003-05-14","APUCARCO","AP05",19.5,380.25,0.0007214028899999999,1380,-0.167325,0.8473026523890108,292.65,85644.02249999999,25063723.184624996,7334898589.980505,13.123868101828123,2.533288298082917,{"v":-3.8000563999110386,"d":"-3.80006"},0.022369510182202526,538.4250811549633,775.5716985385642,496.25508183197314,117.54694211829472,2.2174223300775253,9.18362796829035,1.1538149763385268,0.9993887534178619,0.9776304898177974,9.18362796829035,{"v":3.9,"d":"3.90"},{"v":0.42466877071524434,"d":"42.47%"}]
["2003-05-20","GIRALDO","GIR01",15,225,0.0007755809999999999,2170,-0.2631125,0.7699075583893075,288.15,83030.42249999999,23925216.243374996,6894051060.528504,13.328821794204408,2.613030181798726,{"v":-4.084751976003133,"d":"-4.08475"},0.01682731237570448,546.833593614437,799.98484892691,519.8699093657781,125.06360809197479,2.3109459613302334,10.083959180096603,1.277000955388919,0.9994028743259569,0.9831726876242955,10.083959180096603,0.57,{"v":0.056525417231462795,"d":"5.65%"}]
["2003-05-20","GIRALDO","GIR02",18,324,0.0007391726399999999,1990,-0.24128750000000002,0.7868954974181922,291.15,84768.32249999998,24680297.09587499,7185668499.464004,13.191482053924094,2.559458458081438,{"v":-3.8938405120055313,"d":"-3.89384"},0.020366976027830788,541.1990382964109,783.5837496961204,503.9647598925727,119.98812637464603,2.2478221182171154,9.467095153961308,1.2449340823353923,0.9994183483777693,0.9796330239721692,9.467095153961308,0.01,{"v":0.0010562902175770051,"d":"0.11%"}]
["2003-05-20","GIRALDO","GIR03",18.5,342.25,0.00073321721,1930,-0.2340125,0.7926410362187997,291.65,85059.72249999999,24807668.067124996,7235156391.777004,13.168866792388137,2.5506901929993955,{"v":-3.8624569853875315,"d":"-3.86246"},0.021016299295429246,540.2712154980285,780.8993263527283,501.3772341013696,119.16741716598042,2.2376060806893463,9.370871304701836,1.2350908620309349,0.9994188219508922,0.9789837007045707,9.370871304701836,5.58,{"v":0.5954622380952168,"d":"59.55%"}]
["2003-05-20","GIRALDO","GIR04",19,361,0.0007272939599999999,1850,-0.2243125,0.8003670649309677,292.15,85351.62249999998,24935476.51337499,7284899463.3825035,13.1463289406127,2.541966908713423,{"v":-3.8311958493261216,"d":"-3.83120"},0.021683669717420213,539.3465685435565,778.2286739774632,498.80739168262755,118.35371295565803,2.2274732930627437,9.276397704683365,1.2223345676611024,0.9994178978678928,0.9783163302825798,9.276397704683367,4.51,{"v":0.48618010391286265,"d":"48.62%"}]
["2003-05-29","CHIGORODÓ","RCHI7",30,900,0.0006051239999999999,null,0,1.001629,303.15,91899.92249999999,27859461.505874995,8445595755.506004,12.66930562427841,2.3608398581620134,{"v":-3.1730454824404224,"d":"-3.17305"},0.04187587127691681,519.7760184727033,722.7762352030276,446.45514764802897,102.08810899312846,2.022721924576217,7.558871636163959,0.9565658828998392,0.999393890253004,0.9581241287230832,7.558871636163959,6.93,{"v":0.9168035036928999,"d":"91.68%"}]
["2003-05-29","CHIGORODÓ","RCHI8",30,900,0.0006051239999999999,null,0,1.001629,303.15,91899.92249999999,27859461.505874995,8445595755.506004,12.66930562427841,2.3608398581620134,{"v":-3.1730454824404224,"d":"-3.17305"},0.04187587127691681,519.7760184727033,722.7762352030276,446.45514764802897,102.08810899312846,2.022721924576217,7.558871636163959,0.9565658828998392,0.999393890253004,0.9581241287230832,7.558871636163959,1.23,{"v":0.1627226997896489,"d":"16.27%"}]
["2003-05-06","SAN JUAN","RSJ1",28,784,0.0006261782399999999,28,-0.003395,0.9982342354185549,301.15,90691.32249999998,27311691.770874992,8224915976.799004,12.753445127013117,2.3923016449561647,{"v":-3.2886467719692813,"d":"-3.28865"},0.037304296474973124,523.227959488627,732.408329363595,455.4093574409697,104.82719853091453,2.057689035087094,7.827858984181117,0.9643986044231122,0.9993749274433579,0.9626957035250269,7.827858984181116,6.09,{"v":0.7779905095770046,"d":"77.80%"}]
["2003-05-06","SAN JUAN","RSJ3",26,676,0.0006477473599999999,22,-0.0026675,0.9989607150497466,299.15,89490.72249999999,26771149.635874994,8008589413.572004,12.838709677419356,2.424396562448136,{"v":-3.406006239867491,"d":"-3.40601"},0.03317342286137699,526.7260571619589,742.2342578584055,464.6046273385403,107.65877178555998,2.0935548565337143,8.113707022944585,0.9678324308183396,0.9993529258340829,0.966826577138623,8.113707022944583,8.97,{"v":1.1055365906895485,"d":"110.55%"}]
["2003-05-06","SAN JUAN","RSJ4",30,900,0.0006051239999999999,10,-0.0012125,1.0004152608155796,303.15,91899.92249999999,27859461.505874995,8445595755.506004,12.66930562427841,2.3608398581620134,{"v":-3.1730454824404224,"d":"-3.17305"},0.04187587127691681,519.7760184727033,722.7762352030276,446.45514764802897,102.08810899312846,2.022721924576217,7.558871636163959,0.957726422467787,0.9993946247157143,0.9581241287230832,7.55887163616396,6.68,{"v":0.8837297842234589,"d":"88.37%"}]
["06/0503","SAN JUAN","RSJ5",28,784,0.0006261782399999999,0,0,1.001629,301.15,90691.32249999998,27311691.770874992,8224915976.799004,12.753445127013117,2.3923016449561647,{"v":-3.2886467719692813,"d":"-3.28865"},0.037304296474973124,523.227959488627,732.408329363595,455.4093574409697,104.82719853091453,2.057689035087094,7.827858984181117,0.9611300227180192,0.999372801715647,0.9626957035250269,7.827858984181119,0.59,{"v":0.0753718227669019,"d":"7.54%"}]
["2003-06-11","ARBOLETES","RPA1",29,841,0.00061558676,18,-0.0021825,0.9994453285058094,302.15,91294.62249999998,27584670.188374992,8334708097.417503,12.711236140989575,2.376492657056554,{"v":-3.230628798046128,"d":"-3.23063"},0.03953263292907205,521.4962766837664,727.5683734822389,450.90261783306534,103.44632228537792,2.0400987492148346,7.691368677997353,0.9610004066023758,0.999384754688428,0.960467367070928,7.691368677997353,{"v":5.1,"d":"5.10"},{"v":0.6630809435243347,"d":"66.31%"}]
["2003-06-11","ARBOLETES","RPA2",29,841,0.00061558676,18,-0.0021825,0.9994453285058094,302.15,91294.62249999998,27584670.188374992,8334708097.417503,12.711236140989575,2.376492657056554,{"v":-3.230628798046128,"d":"-3.23063"},0.03953263292907205,521.4962766837664,727.5683734822389,450.90261783306534,103.44632228537792,2.0400987492148346,7.691368677997353,0.9610004066023758,0.999384754688428,0.960467367070928,7.691368677997353,3.92,{"v":0.5096622154147827,"d":"50.97%"}]
["2003-06-11","ARBOLETES","RPA3",29,841,0.00061558676,18,-0.0021825,0.9994453285058094,302.15,91294.62249999998,27584670.188374992,8334708097.417503,12.711236140989575,2.376492657056554,{"v":-3.230628798046128,"d":"-3.23063"},0.03953263292907205,521.4962766837664,727.5683734822389,450.90261783306534,103.44632228537792,2.0400987492148346,7.691368677997353,0.9610004066023758,0.999384754688428,0.960467367070928,7.691368677997353,6.28,{"v":0.8164996716338867,"d":"81.65%"}]
["2003-06-25","PEQUE","PEQ1",17,289,0.0007511800399999999,1650,-0.2000625,0.8200132130473088,290.15,84187.02249999999,24426864.578374997,7087454757.415504,13.236946407030846,2.5771311724440666,{"v":-3.956977579474912,"d":"-3.95698"},0.019120818198327505,543.0642770980528,788.9942894702091,509.193472624862,121.65085062418177,2.2685096285239297,9.66498565583268,1.1961748496180424,0.9993840224418226,0.9808791818016724,9.66498565583268,5.18,{"v":0.5359552703395833,"d":"53.60%"}]
["2003-06-25","PEQUE","PEQ2",18,324,0.0007391726399999999,1510,-0.18308750000000001,0.8340517523415093,291.15,84768.32249999998,24680297.09587499,7185668499.464004,13.191482053924094,2.559458458081438,{"v":-3.8938405120055313,"d":"-3.89384"},0.020366976027830788,541.1990382964109,783.5837496961204,503.9647598925727,119.98812637464603,2.2478221182171154,9.467095153961308,1.1745470484558738,0.9993834917643251,0.9796330239721692,9.467095153961308,5.74,{"v":0.6063105848892009,"d":"60.63%"}]
["2003-06-25","PEQUE","PEQ3",20,400,0.0007155439999999999,1380,-0.167325,0.8473026523890108,293.15,85936.92249999999,25192408.830874994,7385154648.771004,13.101483881971687,2.5246540565843514,{"v":-3.7690379385560373,"d":"-3.76904"},0.02307425145999939,537.5067371652738,772.9283068054946,493.72015528568244,116.74703388147486,2.2074517639867395,9.092516967600389,1.1529832295290368,0.9993937176708989,0.9769257485400006,9.092516967600387,6.25,{"v":0.6873784258276113,"d":"68.74%"}]
["02/0703","URAMITA","URA01",18,324,0.0007391726399999999,1200,-0.14550000000000002,0.865998307004884,291.15,84768.32249999998,24680297.09587499,7185668499.464004,13.191482053924094,2.559458458081438,{"v":-3.8938405120055313,"d":"-3.89384"},0.020366976027830788,541.1990382964109,783.5837496961204,503.9647598925727,119.98812637464603,2.2478221182171154,9.467095153961308,1.1312181745023253,0.9993598777451757,0.9796330239721692,9.467095153961308,6.08,{"v":0.642224452286819,"d":"64.22%"}]
["2003-07-02","URAMITA","URA02",19,361,0.0007272939599999999,900,-0.109125,0.8980789244662479,292.15,85351.62249999998,24935476.51337499,7284899463.3825035,13.1463289406127,2.541966908713423,{"v":-3.8311958493261216,"d":"-3.83120"},0.021683669717420213,539.3465685435565,778.2286739774632,498.80739168262755,118.35371295565803,2.2274732930627437,9.276397704683365,1.0893433791067073,0.9993468326226324,0.9783163302825798,9.276397704683365,7.06,{"v":0.7610712934866543,"d":"76.11%"}]
["2003-07-07","TURBO","QSF01",28,784,0.0006261782399999999,null,0,1.001629,301.15,90691.32249999998,27311691.770874992,8224915976.799004,12.753445127013117,2.3923016449561647,{"v":-3.2886467719692813,"d":"-3.28865"},0.037304296474973124,523.227959488627,732.408329363595,455.4093574409697,104.82719853091453,2.057689035087094,7.827858984181117,0.9611300227180192,0.999372801715647,0.9626957035250269,7.827858984181119,6.83,{"v":0.8725246601659999,"d":"87.25%"}]
["2003-07-07","TURBO","RT02",29,841,0.00061558676,null,0,1.001629,302.15,91294.62249999998,27584670.188374992,8334708097.417503,12.711236140989575,2.376492657056554,{"v":-3.230628798046128,"d":"-3.23063"},0.03953263292907205,521.4962766837664,727.5683734822389,450.90261783306534,103.44632228537792,2.0400987492148346,7.691368677997353,0.9589053103204159,0.999383410449168,0.960467367070928,7.691368677997354,0.31,{"v":0.040304920096577206,"d":"4.03%"}]
["2003-07-07","TURBO","RT03",30,900,0.0006051239999999999,null,0,1.001629,303.15,91899.92249999999,27859461.505874995,8445595755.506004,12.66930562427841,2.3608398581620134,{"v":-3.1730454824404224,"d":"-3.17305"},0.04187587127691681,519.7760184727033,722.7762352030276,446.45514764802897,102.08810899312846,2.022721924576217,7.558871636163959,0.9565658828998392,0.999393890253004,0.9581241287230832,7.558871636163959,5.99,{"v":0.7924463184878023,"d":"79.24%"}]
["2003-07-07","TURBO","RT04",30,900,0.0006051239999999999,null,0,1.001629,303.15,91899.92249999999,27859461.505874995,8445595755.506004,12.66930562427841,2.3608398581620134,{"v":-3.1730454824404224,"d":"-3.17305"},0.04187587127691681,519.7760184727033,722.7762352030276,446.45514764802897,102.08810899312846,2.022721924576217,7.558871636163959,0.9565658828998392,0.999393890253004,0.9581241287230832,7.558871636163959,0.19,{"v":0.025136026796775034,"d":"2.51%"}]
["2003-07-16","NECOCLÍ","CS01",32,1024,0.0005845846399999999,23,-0.00278875,0.9988395984058918,305.15,93116.52249999999,28414506.840874996,8670686762.493004,12.586269048009177,2.3299946580371924,{"v":-3.0591637060463683,"d":"-3.05916"},0.04692692351690814,516.3693265607079,713.3329103865536,437.73415001197975,99.43790193524427,1.9885642508897377,7.305038027643062,0.9541803088345302,0.9994160937129482,0.9530730764830919,7.305038027643061,{"v":9.8,"d":"9.80"},{"v":1.3415399020396241,"d":"134.15%"}]
["2003-07-16","NECOCLÍ","CS02",31,961,0.0005947899599999999,23,-0.00278875,0.9988395984058918,304.15,92507.22249999999,28136071.723374996,8557586214.664504,12.627650830182477,2.345341197548116,{"v":-3.1158920277305917,"d":"-3.11589"},0.04433893793951005,518.0670721683381,718.0312866922364,442.0659757441089,100.752113782099,2.0055474381115346,7.430160336537246,0.9567713010033713,0.9994059002352177,0.95566106206049,7.430160336537247,6.44,{"v":0.8667376891359654,"d":"86.67%"}]
["2003-07-16","NECOCLÍ","CS03",30,900,0.0006051239999999999,23,-0.00278875,0.9988395984058918,303.15,91899.92249999999,27859461.505874995,8445595755.506004,12.66930562427841,2.3608398581620134,{"v":-3.1730454824404224,"d":"-3.17305"},0.04187587127691681,519.7760184727033,722.7762352030276,446.45514764802897,102.08810899312846,2.022721924576217,7.558871636163959,0.959237229132897,0.9993955781868542,0.9581241287230832,7.558871636163958,8.13,{"v":1.075557357146216,"d":"107.56%"}]
["2003-07-16","NECOCLÍ","CS04",31,961,0.0005947899599999999,23,-0.00278875,0.9988395984058918,304.15,92507.22249999999,28136071.723374996,8557586214.664504,12.627650830182477,2.345341197548116,{"v":-3.1158920277305917,"d":"-3.11589"},0.04433893793951005,518.0670721683381,718.0312866922364,442.0659757441089,100.752113782099,2.0055474381115346,7.430160336537246,0.9567713010033713,0.9994059002352177,0.95566106206049,7.430160336537247,9.24,{"v":1.2435801626733416,"d":"124.36%"}]
["2003-07-16","NECOCLÍ","CS05",31,961,0.0005947899599999999,23,-0.00278875,0.9988395984058918,304.15,92507.22249999999,28136071.723374996,8557586214.664504,12.627650830182477,2.345341197548116,{"v":-3.1158920277305917,"d":"-3.11589"},0.04433893793951005,518.0670721683381,718.0312866922364,442.0659757441089,100.752113782099,2.0055474381115346,7.430160336537246,0.9567713010033713,0.9994059002352177,0.95566106206049,7.430160336537247,8.14,{"v":1.0955349052122296,"d":"109.55%"}]
["2003-07-22","CAREPA","QC01",23,529,0.0006810664399999999,1100,-0.133375,0.8765624521832454,296.15,87704.82249999998,25973783.183374994,7692135889.756504,12.968765828127639,2.4737636291322525,{"v":-3.5854294572598904,"d":"-3.58543"},0.027724758474321275,532.0617930102989,757.3480922328988,478.86747618503165,112.08784040700209,2.1492365554295816,8.578306834842317,1.1091910668818206,0.9994030027312539,0.9722752415256787,8.57830683484232,5.76,{"v":0.6714611765348303,"d":"67.15%"}]
["2003-07-22","CAREPA","RC02",32,1024,0.0005845846399999999,null,0,1.001629,305.15,93116.52249999999,28414506.840874996,8670686762.493004,12.586269048009177,2.3299946580371924,{"v":-3.0591637060463683,"d":"-3.05916"},0.04692692351690814,516.3693265607079,713.3329103865536,437.73415001197975,99.43790193524427,1.9885642508897377,7.305038027643062,0.9515230454420667,0.9994144630716214,0.9530730764830919,7.305038027643062,7.15,{"v":0.9787765611819705,"d":"97.88%"}]
["2003-07-21","CAREPA","RC03",28,784,0.0006261782399999999,null,0,1.001629,301.15,90691.32249999998,27311691.770874992,8224915976.799004,12.753445127013117,2.3923016449561647,{"v":-3.2886467719692813,"d":"-3.28865"},0.037304296474973124,523.227959488627,732.408329363595,455.4093574409697,104.82719853091453,2.057689035087094,7.827858984181117,0.9611300227180192,0.999372801715647,0.9626957035250269,7.827858984181119,4.64,{"v":0.5927546739634318,"d":"59.28%"}]
["2003-07-21","CAREPA","RC04",27,729,0.00063689844,null,0,1.001629,300.15,90090.02249999999,27040520.253374994,8116212154.050504,12.795935365650509,2.4082689068037477,{"v":-3.347104272454256,"d":"-3.34710"},0.035186096068854936,524.9711810761287,737.2967411568801,459.976357091265,106.23119302884538,2.0755039816681915,7.968561456103062,0.9632447781874776,0.9993620640524412,0.9648139039311451,7.968561456103062,6.13,{"v":0.7692731032782684,"d":"76.93%"}]
["2003-07-28","CHIGORODO","RCHI08",27,729,0.00063689844,null,0,1.001629,300.15,90090.02249999999,27040520.253374994,8116212154.050504,12.795935365650509,2.4082689068037477,{"v":-3.347104272454256,"d":"-3.34710"},0.035186096068854936,524.9711810761287,737.2967411568801,459.976357091265,106.23119302884538,2.0755039816681915,7.968561456103062,0.9632447781874776,0.9993620640524412,0.9648139039311451,7.968561456103062,6.91,{"v":0.867157772210903,"d":"86.72%"}]
["2003-07-28","CHIGORODO","RCHI07",27,729,0.00063689844,null,0,1.001629,300.15,90090.02249999999,27040520.253374994,8116212154.050504,12.795935365650509,2.4082689068037477,{"v":-3.347104272454256,"d":"-3.34710"},0.035186096068854936,524.9711810761287,737.2967411568801,459.976357091265,106.23119302884538,2.0755039816681915,7.968561456103062,0.9632447781874776,0.9993620640524412,0.9648139039311451,7.968561456103062,0.03,{"v":0.0037647949589474797,"d":"0.38%"}]
["2003-07-29","CHIGORODO","RCHI06",28,784,0.0006261782399999999,null,0,1.001629,301.15,90691.32249999998,27311691.770874992,8224915976.799004,12.753445127013117,2.3923016449561647,{"v":-3.2886467719692813,"d":"-3.28865"},0.037304296474973124,523.227959488627,732.408329363595,455.4093574409697,104.82719853091453,2.057689035087094,7.827858984181117,0.9611300227180192,0.999372801715647,0.9626957035250269,7.827858984181119,0.31,{"v":0.03960214416566032,"d":"3.96%"}]
["2003-07-29","CHIGORODO","RCHI05",29,841,0.00061558676,null,0,1.001629,302.15,91294.62249999998,27584670.188374992,8334708097.417503,12.711236140989575,2.376492657056554,{"v":-3.230628798046128,"d":"-3.23063"},0.03953263292907205,521.4962766837664,727.5683734822389,450.90261783306534,103.44632228537792,2.0400987492148346,7.691368677997353,0.9589053103204159,0.999383410449168,0.960467367070928,7.691368677997354,0,{"v":0,"d":"0.00%"}]
["2003-07-29","CHIGORODO","RCHI04",28,784,0.0006261782399999999,null,0,1.001629,301.15,90691.32249999998,27311691.770874992,8224915976.799004,12.753445127013117,2.3923016449561647,{"v":-3.2886467719692813,"d":"-3.28865"},0.037304296474973124,523.227959488627,732.408329363595,455.4093574409697,104.82719853091453,2.057689035087094,7.827858984181117,0.9611300227180192,0.999372801715647,0.9626957035250269,7.827858984181119,0.35,{"v":0.04471209825155197,"d":"4.47%"}]
["2003-07-30","CHIGORODO","RCHI03",29,841,0.00061558676,null,0,1.001629,302.15,91294.62249999998,27584670.188374992,8334708097.417503,12.711236140989575,2.376492657056554,{"v":-3.230628798046128,"d":"-3.23063"},0.03953263292907205,521.4962766837664,727.5683734822389,450.90261783306534,103.44632228537792,2.0400987492148346,7.691368677997353,0.9589053103204159,0.999383410449168,0.960467367070928,7.691368677997354,0,{"v":0,"d":"0.00%"}]
["2003-08-11","CAREPA","RC05",30,900,0.0006051239999999999,null,0,1.001629,303.15,91899.92249999999,27859461.505874995,8445595755.506004,12.66930562427841,2.3608398581620134,{"v":-3.1730454824404224,"d":"-3.17305"},0.04187587127691681,519.7760184727033,722.7762352030276,446.45514764802897,102.08810899312846,2.022721924576217,7.558871636163959,0.9565658828998392,0.999393890253004,0.9581241287230832,7.558871636163959,6.74,{"v":0.8916674768961249,"d":"89.17%"}]
["2003-08-11","APARTADO","RA10",30,900,0.0006051239999999999,null,0,1.001629,303.15,91899.92249999999,27859461.505874995,8445595755.506004,12.66930562427841,2.3608398581620134,{"v":-3.1730454824404224,"d":"-3.17305"},0.04187587127691681,519.7760184727033,722.7762352030276,446.45514764802897,102.08810899312846,2.022721924576217,7.558871636163959,0.9565658828998392,0.999393890253004,0.9581241287230832,7.558871636163959,3.46,{"v":0.4577402774570611,"d":"45.77%"}]
["2003-08-04","SAN PEDRO","AC01",25.5,650.25,0.00065322009,null,0,1.001629,298.65,89191.82249999998,26637137.789624993,7955181200.871504,12.860204252469446,2.4325212101143023,{"v":-3.4356254625837472,"d":"-3.43563"},0.0322052607456026,527.6079022266869,744.7216363361116,466.94206030065766,108.38155388660978,2.1026723046231126,8.188021590343945,0.9662207656271906,0.9993457158144734,0.9677947392543974,8.188021590343945,4.22,{"v":0.5153870142424398,"d":"51.54%"}]
["2003-08-04","SAN PEDRO","AC02",26,676,0.0006477473599999999,null,0,1.001629,299.15,89490.72249999999,26771149.635874994,8008589413.572004,12.838709677419356,2.424396562448136,{"v":-3.406006239867491,"d":"-3.40601"},0.03317342286137699,526.7260571619589,742.2342578584055,464.6046273385403,107.65877178555998,2.0935548565337143,8.113707022944585,0.9652541780825264,0.9993511974595506,0.966826577138623,8.113707022944585,5.42,{"v":0.6680053870164271,"d":"66.80%"}]
["2003-08-04","SAN PEDRO","AC03",26,676,0.0006477473599999999,null,0,1.001629,299.15,89490.72249999999,26771149.635874994,8008589413.572004,12.838709677419356,2.424396562448136,{"v":-3.406006239867491,"d":"-3.40601"},0.03317342286137699,526.7260571619589,742.2342578584055,464.6046273385403,107.65877178555998,2.0935548565337143,8.113707022944585,0.9652541780825264,0.9993511974595506,0.966826577138623,8.113707022944585,5.98,{"v":0.7370243937930322,"d":"73.70%"}]
["2003-08-04","SAN PEDRO","AC04",27,729,0.00063689844,null,0,1.001629,300.15,90090.02249999999,27040520.253374994,8116212154.050504,12.795935365650509,2.4082689068037477,{"v":-3.347104272454256,"d":"-3.34710"},0.035186096068854936,524.9711810761287,737.2967411568801,459.976357091265,106.23119302884538,2.0755039816681915,7.968561456103062,0.9632447781874776,0.9993620640524412,0.9648139039311451,7.968561456103062,4.83,{"v":0.6061319883905443,"d":"60.61%"}]
["2003-08-04","SAN PEDRO","AC05",25.5,650.25,0.00065322009,null,0,1.001629,298.65,89191.82249999998,26637137.789624993,7955181200.871504,12.860204252469446,2.4325212101143023,{"v":-3.4356254625837472,"d":"-3.43563"},0.0322052607456026,527.6079022266869,744.7216363361116,466.94206030065766,108.38155388660978,2.1026723046231126,8.188021590343945,0.9662207656271906,0.9993457158144734,0.9677947392543974,8.188021590343945,5.98,{"v":0.7303351528838367,"d":"73.03%"}]
["09/16/2003","URRAO","URU004",17.4,302.75999999999993,0.0007463616336,24121,-2.9246712500000003,0.053769785607566026,290.54999999999995,84419.30249999998,24528028.34137499,7126618634.586502,13.218723111340562,2.57004018719534,{"v":-3.9316632985359017,"d":"-3.93166"},0.01961102641892807,542.3166408535537,786.823368980098,507.093347532505,120.98232615053155,2.260193255429101,9.584941329737926,18.233083180512438,0.9999598682949756,0.9803889735810719,9.584941329737925,null,{"v":0,"d":"0.00%"}]
[null,"URRAO","URU007",18.7,349.69,0.0007308440484,2106,-0.25535250000000004,0.7759052821131097,291.84999999999997,85176.42249999999,24858738.90662499,7255022949.898503,13.159842384786707,2.547195498848288,{"v":-3.849937883634994,"d":"-3.84994"},0.021281058299307185,539.900976529039,779.829418170269,500.3471836089482,118.84109891231454,2.233543055403615,9.332874460981436,1.2613897137486136,0.9994329342424455,0.9787189417006928,9.332874460981436,null,{"v":0,"d":"0.00%"}]
[null,"URRAO","URU008",18.4,338.55999999999995,0.0007344057215999998,2042,-0.24759250000000002,0.7819497292252916,291.54999999999995,85001.40249999997,24782158.898874987,7225238426.967001,13.173383639169955,2.552440237677256,{"v":-3.8687238768472105,"d":"-3.86872"},0.020885004264420616,540.4565254673299,781.4351063207461,501.8933197367497,119.33099630068966,2.239642582643853,9.389974547722865,1.2521457059722076,0.9994257316448534,0.9791149957355794,9.389974547722865,null,{"v":0,"d":"0.00%"}]
[null,"URRAO","URU009",17.8,316.84000000000003,0.0007415638224,1992,-0.24153000000000002,0.7867046983953848,290.95,84651.9025,24629471.032374997,7165944596.869505,13.200549922667125,2.5629784280394645,{"v":-3.906428350706589,"d":"-3.90643"},0.020112206680574993,541.5710603196426,784.6613961216052,505.0047556299716,120.3183876661084,2.2519321619005552,9.506085399518861,1.245559859141644,0.9994166082567579,0.979887793319425,9.50608539951886,null,{"v":0,"d":"0.00%"}]
[null,"URRAO","URU010",22.5,506.25,0.0006867322499999999,1855,-0.22491875,0.799881989451215,295.65,87408.92249999999,25842447.937124994,7640319732.611004,12.990698461018097,2.4821379076031973,{"v":-3.615736368621293,"d":"-3.61574"},0.026897111734025415,532.9616100118384,759.9118957220873,481.3011534457499,112.8480129332694,2.1587548022315985,8.66034709678754,1.2165580686891118,0.9994506952416496,0.9731028882659746,8.660347096787538,null,{"v":0,"d":"0.00%"}]

{"sheet":"ico","index":4,"n_rows":67,"n_cols":46,"rows_kept":67,"merged":[[4,6,4,8],[4,10,4,12],[4,15,4,16]],"flags":["formulas_cached_only"]}
["PROYECTO: CARACTERIZACION DE AGUAS SUPERFICIALES 2003",{"$nulls":24},"OLIGO",null,"<0,01",null,">340=1"]
[{"$nulls":15},"% de oxigeno",null,">100=0","DBO",null,">30=1","coliformes",null,">20000=1",null,"MESO",null,"0,01-0,02",null,"<10=0"]
[{"$nulls":3},"alcalinidad",">250=1","dureza",null,null,">110=1","conductividad",null,null,">270 = 1",{"$nulls":7},"<2=0",null,null,"<500=0",null,"EUTRO",null,"0,02-1,00"]
[{"$nulls":4},"<50=0",{"$nulls":3},"<30=0",{"$nulls":16},"HIPEREU",null,">1,00"]
["CÓDIGO","FECHA","NOMBRE","ALC (mg/L)","I de alcalinida","DUR (mg/L)","I de dureza",null,null,"CON (uS/cm)","I de conductividad",null,null,"ICOMI","OD (mg/L)","% OXIGENO",null,"I de oxigeno","DBO (mg/L)",null,"I de DBO","CTS (NMP/100 ml)",null,"I de coliformes","ICOMO","PO4 (ug/L)","PO4 (mg/l)","ICOTRO","SST (mg/L)","ICOSUS","TUR (NTU)","CL (mg/L)","PH","DQO(mg/L)","NO2 (ug/L)","SO4 (mg/L)","Fe (mg/L)","CTS (NMP/100 ml)","ST (mg/L)","Zn (ug/L)","Pb (ug/L)","Cd (ug/L)","Cu (ug/L)","NO3 (mg/L)","NH4 (ug/L)","Hg (ug/L)"]
["AP01","2003-05-14","APUCARCO",12.65,{"v":0,"d":"0.00"},37.55,{"v":1.574609941340187,"d":"1.57"},{"v":-2.1617162581031764,"d":"-2.16"},{"v":0.006891023673491103,"d":"0.01"},18.5,{"v":1.2671717284030135,"d":"1.27"},{"v":-1.5619898839399615,"d":"-1.56"},{"v":0.027416380324029408,"d":"0.03"},{"v":0.011435801332506837,"d":"0.01"},7.23,{"v":0.732488146491462,"d":"0.73"},{"v":73.2488146491462,"d":"73.25"},0.267511853508538,0.97,-0.013228265733755159,0,230,2.3617278360175926,0,{"v":0.08917061783617933,"d":"0.089"},{"v":14,"d":"14.0"},0.014,"meso",1,0,0.07,{"v":0.1,"d":"0.10"},"C",1.46,"ND","ND","ND",230,8,7.14,4.01,"ND",3.47,0.56,{"v":28,"d":"28.0"},"< LD"]
["AP02","2003-05-14","APUCARCO",21.72,{"v":0,"d":"0.00"},37.89,{"v":1.578524605274993,"d":"1.58"},{"v":-2.1444917367900302,"d":"-2.14"},{"v":0.007169820172840053,"d":"0.01"},62,{"v":1.7923916894982537,"d":"1.79"},{"v":-0.8581951360723399,"d":"-0.86"},{"v":0.13861328752952135,"d":"0.14"},{"v":0.04859436923412046,"d":"0.05"},1.84,{"v":0.19435740003416893,"d":"0.19"},{"v":19.435740003416893,"d":"19.44"},0.8056425999658311,1.78,0.25042000230889394,0,500,2.6989700043360183,0.07142320242817046,{"v":0.29235526746466717,"d":"0.292"},{"v":60,"d":"60.0"},{"v":0.06,"d":"0.060"},"eutro",1,0,0.17,38.35,"C",5.52,"ND","ND","ND",500,4,33.77,3.99,{"v":2.7,"d":"2.70"},222.9,0.19,27.3,"ND"]
["AP03","2003-05-14","APUCARCO",18.97,{"v":0,"d":"0.00"},34.94,{"v":1.543322900646912,"d":"1.54"},{"v":-2.2993792371535866,"d":"-2.30"},{"v":0.005019041224726949,"d":"0.01"},43,{"v":1.6334684555795864,"d":"1.63"},{"v":-1.071152269523354,"d":"-1.07"},{"v":0.08488827930571695,"d":"0.08"},{"v":0.029969106843481298,"d":"0.03"},5.29,{"v":0.570264467782493,"d":"0.57"},{"v":57.026446778249294,"d":"57.03"},0.42973553221750704,1.84,0.26481782300953643,0,40,1.6020599913279623,0,{"v":0.14324517740583567,"d":"0.143"},{"v":8.6,"d":"8.60"},{"v":0.0086,"d":"0.009"},"oligo",1,0,0.09,1.53,"C",{"v":1.9,"d":"1.90"},"ND","ND",0.04,40,2,15.71,3.89,0.41,7.47,0.32,49.3,"ND"]
["AP04","2003-05-14","APUCARCO",21.65,{"v":0,"d":"0.00"},37.11,{"v":1.569490954348783,"d":"1.57"},{"v":-2.1842398008653543,"d":"-2.18"},{"v":0.006542748086902767,"d":"0.01"},45,{"v":1.6532125137753435,"d":"1.65"},{"v":-1.0446952315410392,"d":"-1.04"},{"v":0.09022040419855226,"d":"0.09"},{"v":0.032254384095151675,"d":"0.03"},2.16,{"v":0.2328,"d":"0.23"},23.28,0.7672,2.65,0.4232458739368078,0.24627211175576547,230,2.3617278360175926,0,{"v":0.3378240372519218,"d":"0.338"},{"v":19,"d":"19.0"},0.019,"meso",0,0,0.08,0.15,"C",4.87,"ND","ND",0.11,230,21,27.07,45.67,"ND",37.71,0.41,35.6,"ND"]
["AP05","2003-05-14","APUCARCO",22.84,{"v":0,"d":"0.00"},38.85,{"v":1.589391023136933,"d":"1.59"},{"v":-2.096679498197494,"d":"-2.10"},{"v":0.00800424736684102,"d":"0.01"},52,{"v":1.716003343634799,"d":"1.72"},{"v":-0.9605555195293691,"d":"-0.96"},{"v":0.10950765535390722,"d":"0.11"},{"v":0.03917063424024941,"d":"0.04"},{"v":3.9,"d":"3.90"},{"v":0.42466877071524434,"d":"0.42"},{"v":42.466877071524436,"d":"42.47"},0.5753312292847557,0.61,-0.21467016498923294,0,800,2.9030899869919433,0.18573039271548852,{"v":0.2536872073334147,"d":"0.254"},{"v":5,"d":"5.00"},0.005,"oligo",52,0.176,{"v":2.2,"d":"2.20"},4.91,"C",7.68,"< LD","ND",1.47,800,84,18.18,4.05,0.29,9.24,0.35,25.3,"< LD"]
["GIR01","2003-05-20","GIRALDO",89.04,{"v":0.19520000000000004,"d":"0.20"},67.01,{"v":1.8261396179359148,"d":"1.83"},{"v":-1.0549856810819733,"d":"-1.05"},{"v":0.08810779221327222,"d":"0.09"},46,{"v":1.6627578316815739,"d":"1.66"},{"v":-1.0319045055466907,"d":"-1.03"},{"v":0.09291706741810996,"d":"0.09"},{"v":0.12540828654379407,"d":"0.13"},0.57,{"v":0.056525417231462795,"d":"0.06"},{"v":5.652541723146279,"d":"5.65"},0.9434745827685372,0.59,-0.22914798835785583,0,1300,3.1139433523068365,0.3038082772918287,{"v":0.41576095335345525,"d":"0.416"},{"v":28,"d":"28.0"},0.028,"eutro",2,0,0.14,"ND","C",3.88,"ND","ND","ND",1300,136,17.16,{"v":3.2,"d":"3.20"},"< LD",3.53,0.19,26.1,"< LD"]
["GIR02","2003-05-20","GIRALDO",62.03,{"v":0.06015000000000004,"d":"0.06"},{"v":44.9,"d":"44.90"},{"v":1.652246341003323,"d":"1.65"},{"v":-1.8201160995853778,"d":"-1.82"},{"v":0.015131566834353898,"d":"0.02"},51,{"v":1.7075701760979363,"d":"1.71"},{"v":-0.971855964028765,"d":"-0.97"},{"v":0.10669499219190624,"d":"0.11"},{"v":0.0606588530087534,"d":"0.06"},0.01,{"v":0.0010562902175770051,"d":"0.00"},{"v":0.10562902175770052,"d":"0.11"},0.998943709782423,0.16,-0.7958800173440752,0,340,2.531478917042255,0,{"v":0.332981236594141,"d":"0.333"},"ND",{"$error":"#VALUE!"},"oligo",1,0,0.12,"ND","C",{"v":5.5,"d":"5.50"},"ND",{"v":7.5,"d":"7.50"},"ND",340,150,13.32,2.63,"< LD",3.31,0.17,{"v":23,"d":"23.0"},"< LD"]
["GIR03","2003-05-20","GIRALDO",53.85,{"v":0.01924999999999999,"d":"0.02"},73.77,{"v":1.8678797834583796,"d":"1.87"},{"v":-0.8713289527831289,"d":"-0.87"},{"v":0.1344841329175557,"d":"0.13"},42,{"v":1.6232492903979003,"d":"1.62"},{"v":-1.0848459508668133,"d":"-1.08"},{"v":0.08225343603885214,"d":"0.08"},{"v":0.07866252298546927,"d":"0.08"},5.58,{"v":0.5954622380952168,"d":"0.60"},{"v":59.54622380952168,"d":"59.55"},0.4045377619047832,0.32,-0.49485002168009395,0,16000,4.204119982655924,0.9143071902873179,{"v":0.43961498406403365,"d":"0.440"},{"v":4,"d":"4.00"},0.004,"oligo",7,0,0.31,"ND","C",2.71,"ND",3.94,0.11,"> 16000",121,11.94,3.07,"ND",1.76,0.11,25.3,"< LD"]
["GIR04","2003-05-20","GIRALDO",48.55,{"v":0,"d":"0.00"},76.56,{"v":1.884001924768787,"d":"1.88"},{"v":-0.8003915310173362,"d":"-0.80"},{"v":0.15834650020570717,"d":"0.16"},45,{"v":1.6532125137753435,"d":"1.65"},{"v":-1.0446952315410392,"d":"-1.04"},{"v":0.09022040419855226,"d":"0.09"},{"v":0.0828556348014198,"d":"0.08"},4.51,{"v":0.48618010391286265,"d":"0.49"},{"v":48.61801039128626,"d":"48.62"},0.5138198960871374,{"v":5.3,"d":"5.30"},0.7242758696007889,0.45699310872055227,16000,4.204119982655924,0.9143071902873179,{"v":0.6283733983650025,"d":"0.628"},{"v":40,"d":"40.0"},{"v":0.04,"d":"0.040"},"eutro",9,0,0.34,"ND","C",10.63,"ND",3.66,0.29,"> 16000",116,15.24,3.43,"ND",8.45,0.79,{"v":32,"d":"32.0"},"< LD"]
["RCHI7","2003-05-29","CHIGORODÓ",{"v":54.1,"d":"54.10"},{"v":0.020500000000000018,"d":"0.02"},63.22,{"v":1.8008544915035607,"d":"1.80"},{"v":-1.166240237384332,"d":"-1.17"},{"v":0.06819613512560815,"d":"0.07"},180,{"v":2.255272505103306,"d":"2.26"},{"v":-0.23793484316156954,"d":"-0.24"},{"v":0.578182785179364,"d":"0.58"},{"v":0.2222929734349907,"d":"0.22"},6.93,{"v":0.9168035036928999,"d":"0.92"},{"v":91.68035036928998,"d":"91.68"},0.08319649630710013,1.75,0.24303804868629442,0,400000,5.602059991327962,1,{"v":0.3610654987690334,"d":"0.361"},{"v":52,"d":"52.0"},0.052,"eutro",60,0.19999999999999998,{"v":6,"d":"6.00"},2.07,"C",8.51,"ND","ND",0.083,400000,149,12.56,2.98,{"v":0.3,"d":"0.30"},10.72,0.29,36.1,"< LD"]
["RCHI8","2003-05-29","CHIGORODÓ",45.12,{"v":0,"d":"0.00"},47.86,{"v":1.6799726942774182,"d":"1.68"},{"v":-1.6981201451793586,"d":"-1.70"},{"v":0.02003917577901651,"d":"0.02"},165,{"v":2.217483944213906,"d":"2.22"},{"v":-0.28857151475336584,"d":"-0.29"},{"v":0.5145510695273625,"d":"0.51"},{"v":0.17819674843545966,"d":"0.18"},1.23,{"v":0.1627226997896489,"d":"0.16"},{"v":16.27226997896489,"d":"16.27"},0.8372773002103511,1.61,0.20682587603184974,0,90000,4.954242509439324,1,{"v":0.6124257667367836,"d":"0.612"},{"v":17,"d":"17.0"},0.017,"meso",45,0.155,46.7,{"v":2.4,"d":"2.40"},"C",7.54,"ND","ND",2.16,90000,161,12.57,{"v":2.2,"d":"2.20"},0.14,30.67,0.27,36.9,"< LD"]
["RSJ1","2003-05-06","SAN JUAN",121.31,{"v":0.35655000000000003,"d":"0.36"},142.53,{"v":2.1539062851388677,"d":"2.15"},{"v":0.3871876546110187,"d":"0.39"},{"v":1,"d":"1.00"},730,{"v":2.8633228601204554,"d":"2.86"},{"v":0.576852632561411,"d":"0.58"},{"v":1,"d":"1.00"},{"v":0.7855166666666666,"d":"0.79"},6.09,{"v":0.7779905095770046,"d":"0.78"},{"v":77.79905095770046,"d":"77.80"},0.22200949042299545,1.75,0.24303804868629442,0,8000,3.9030899869919433,0.7457303927154886,{"v":0.3225799610461613,"d":"0.323"},{"v":91,"d":"91.0"},0.091,"eutro",150,0.47000000000000003,21.9,35.52,"C",101.2,{"v":9,"d":"9.0"},116.3,5.54,8000,685,29.52,1.99,0.27,2.46,0.26,27.7,"< LD"]
["RSJ3","2003-05-06","SAN JUAN",121.68,{"v":0.35840000000000005,"d":"0.36"},149.85,{"v":2.1756567472816637,"d":"2.18"},{"v":0.48288968803932164,"d":"0.48"},{"v":1,"d":"1.00"},780,{"v":2.8920946026904804,"d":"2.89"},{"v":0.6154067676052439,"d":"0.62"},{"v":1,"d":"1.00"},{"v":0.7861333333333334,"d":"0.79"},8.97,{"v":1.1055365906895485,"d":"1.11"},{"v":110.55365906895484,"d":"110.55"},0,{"v":1.6,"d":"1.60"},0.2041199826559248,0,13000,4.113943352306836,0.8638082772918283,{"v":0.2879360924306094,"d":"0.288"},{"v":77,"d":"77.0"},0.077,"eutro",15,0.065,{"v":24,"d":"24.0"},36.81,"C",69.21,4.2,87.8,4.08,13000,684,20.35,2.77,0.41,"< LD",0.35,31,"< LD"]
["RSJ4","2003-05-06","SAN JUAN",117.56,{"v":0.3378,"d":"0.34"},81.11,{"v":1.9090744014009042,"d":"1.91"},{"v":-0.6900726338360208,"d":"-0.69"},{"v":0.20413965015595137,"d":"0.20"},790,{"v":2.8976270912904414,"d":"2.90"},{"v":0.6228203023291918,"d":"0.62"},{"v":1,"d":"1.00"},{"v":0.5139798833853171,"d":"0.51"},6.68,{"v":0.8837297842234589,"d":"0.88"},{"v":88.3729784223459,"d":"88.37"},0.11627021577654106,1.36,0.13353890837021754,0,8000,3.9030899869919433,0.7457303927154886,{"v":0.28733353616400986,"d":"0.287"},{"v":150,"d":"150.0"},{"v":0.15,"d":"0.150"},"eutro",30,0.11,22.9,33.63,"C",64.06,{"v":9,"d":"9.0"},63.7,6.08,8000,681,16.91,2.68,"ND","ND",0.24,27.1,"< LD"]
["RSJ5","06/0503","SAN JUAN",106.08,{"v":0.2804,"d":"0.28"},76.57,{"v":1.8840586470939382,"d":"1.88"},{"v":-0.8001419527866709,"d":"-0.80"},{"v":0.15843752415077267,"d":"0.16"},1250,{"v":3.096910013008056,"d":"3.10"},{"v":0.8898594174307952,"d":"0.89"},{"v":1,"d":"1.00"},{"v":0.47961250805025757,"d":"0.48"},0.59,{"v":0.0753718227669019,"d":"0.08"},{"v":7.5371822766901895,"d":"7.54"},0.9246281772330981,1.19,0.07554696139253074,0,5000,3.6989700043360187,0.631423202428171,{"v":0.518683793220423,"d":"0.519"},{"v":75,"d":"75.0"},0.075,"eutro",142,0.446,{"v":20,"d":"20.0"},154.88,"C",177.1,5.3,73.8,5.78,5000,946,14.79,1.69,0.22,"ND",{"v":0.4,"d":"0.40"},null,"< LD"]
["RPA1","2003-06-11","ARBOLETES",64.54,{"v":0.07270000000000004,"d":"0.07"},86.99,{"v":1.93946933084353,"d":"1.94"},{"v":-0.5563349442884675,"d":"-0.56"},{"v":0.27775702745056613,"d":"0.28"},245,{"v":2.3891660843645326,"d":"2.39"},{"v":-0.05851744695152572,"d":"-0.06"},{"v":0.8739418829390061,"d":"0.87"},{"v":0.4081329701298574,"d":"0.41"},{"v":5.1,"d":"5.10"},{"v":0.6630809435243347,"d":"0.66"},{"v":66.30809435243347,"d":"66.31"},0.3369190564756652,6.35,0.8027737252919755,0.5119416077043828,20,1.301029995663981,0,{"v":0.28295355472668265,"d":"0.283"},300,{"v":0.3,"d":"0.300"},"eutro",4,0,0.17,21.57,"C",24.05,2.7,50.5,0.37,"< 20",188,12.17,2.72,"< LD","< LD",0.24,null,"< LD"]
["RPA2","2003-06-11","ARBOLETES",66.36,{"v":0.08179999999999998,"d":"0.08"},{"v":66.7,"d":"66.70"},{"v":1.824125833916549,"d":"1.82"},{"v":-1.0638463307671842,"d":"-1.06"},{"v":0.08632839550916531,"d":"0.09"},240,{"v":2.380211241711606,"d":"2.38"},{"v":-0.07051693610644749,"d":"-0.07"},{"v":0.8501255403430347,"d":"0.85"},{"v":0.3394179786174,"d":"0.34"},3.92,{"v":0.5096622154147827,"d":"0.51"},{"v":50.966221541478276,"d":"50.97"},0.49033778458521726,10.88,1.0366288953621612,0.6756402267535128,{"v":20,"d":"20.00"},1.301029995663981,0,{"v":0.38865933711290995,"d":"0.389"},300,{"v":0.3,"d":"0.300"},"eutro",7,0,0.34,21.04,"C",41.22,4.3,48,0.62,"< 20",206,8.1,3.24,0.1,4.96,0.21,null,"< LD"]
["RPA3","2003-06-11","ARBOLETES",66.61,{"v":0.08305000000000001,"d":"0.08"},81.72,{"v":1.9123283579604098,"d":"1.91"},{"v":-0.6757552249741963,"d":"-0.68"},{"v":0.21098169400531797,"d":"0.21"},250,{"v":2.397940008672037,"d":"2.40"},{"v":-0.04676038837946983,"d":"-0.05"},{"v":0.8979240660450023,"d":"0.90"},{"v":0.3973185866834401,"d":"0.40"},6.28,{"v":0.8164996716338867,"d":"0.82"},{"v":81.64996716338867,"d":"81.65"},0.1835003283661133,18.11,1.2579184503140584,0.8305429152198407,400,2.602059991327962,0,{"v":0.33801441452865133,"d":"0.338"},{"v":52,"d":"52.0"},0.052,"eutro",6,0,0.45,{"v":20.9,"d":"20.90"},"C",68.6,6.7,46.5,0.58,400,176,10.84,3.9,0.33,3.32,0.29,null,"< LD"]
["PEQ1","2003-06-25","PEQUE",137.34,{"v":0.4367,"d":"0.44"},65.77,{"v":1.818027841859256,"d":"1.82"},{"v":-1.090677495819273,"d":"-1.09"},{"v":0.08115634957728503,"d":"0.08"},"CAMPO",{"$error":"#VALUE!"},{"$error":"#VALUE!"},{"$error":"#VALUE!"},{"$error":"#VALUE!"},5.18,{"v":0.5359552703395833,"d":"0.54"},{"v":53.595527033958334,"d":"53.60"},0.46404472966041665,0.02,-1.6989700043360185,0,500,2.6989700043360183,0.07142320242817046,{"v":0.1784893106961957,"d":"0.178"},{"v":190,"d":"190.0"},{"v":0.19,"d":"0.190"},"eutro",2,0,0.08,0.17,"C",0.65,"< LD",3.21,"ND",500,202,6.17,1.18,0.18,"ND",0.07,null,"ND"]
["PEQ2","2003-06-25","PEQUE",153.75,{"v":0.51875,"d":"0.52"},61.29,{"v":1.7873896213521099,"d":"1.79"},{"v":-1.2254856660507158,"d":"-1.23"},{"v":0.05949963943729805,"d":"0.06"},"CAMPO",{"$error":"#VALUE!"},{"$error":"#VALUE!"},{"$error":"#VALUE!"},{"$error":"#VALUE!"},5.74,{"v":0.6063105848892009,"d":"0.61"},{"v":60.63105848892009,"d":"60.63"},0.39368941511079913,0.69,-0.1611509092627447,0,500,2.6989700043360183,0.07142320242817046,{"v":0.1550375391796565,"d":"0.155"},{"v":140,"d":"140.0"},{"v":0.14,"d":"0.140"},"eutro",2,0,0.07,0.18,"C",22.5,"< LD",8,0.015,500,217,{"v":9.8,"d":"9.80"},1.46,0.21,"< LD",0.25,null,"ND"]
["PEQ3","2003-06-25","PEQUE",161.57,{"v":0.55785,"d":"0.56"},67.11,{"v":1.826787238816292,"d":"1.83"},{"v":-1.052136149208314,"d":"-1.05"},{"v":0.08868779365319315,"d":"0.09"},"CAMPO",{"$error":"#VALUE!"},{"$error":"#VALUE!"},{"$error":"#VALUE!"},{"$error":"#VALUE!"},6.25,{"v":0.6873784258276113,"d":"0.69"},{"v":68.73784258276113,"d":"68.74"},0.31262157417238867,1.61,0.20682587603184974,0,900,2.9542425094393248,0.21437580528602207,{"v":0.17566579315280356,"d":"0.176"},{"v":30,"d":"30.0"},{"v":0.03,"d":"0.030"},"eutro",3,0,0.03,0.16,"C",52.5,"< LD",6.6,0.23,900,215,10.26,1.4,0.39,"ND",0.28,null,"ND"]
["URA01","02/0703","URAMITA",128.58,{"v":0.3929,"d":"0.39"},100.13,{"v":2.0005642161653756,"d":"2.00"},{"v":-0.28751744887234665,"d":"-0.29"},{"v":0.5158014410367026,"d":"0.52"},255,{"v":2.4065401804339546,"d":"2.41"},{"v":-0.035236158218500346,"d":"-0.04"},{"v":0.9220698928096207,"d":"0.92"},{"v":0.6102571112821078,"d":"0.61"},6.08,{"v":0.642224452286819,"d":"0.64"},{"v":64.2224452286819,"d":"64.22"},0.3577755477131809,3.22,0.5078558716958309,0.30549911018708165,1100,3.0413926851582245,0.263179903688606,{"v":0.3088181871962895,"d":"0.309"},60,{"v":0.06,"d":"0.060"},"eutro",1,0,0.06,"ND","C",4.19,"ND",20.4,"ND",1100,211,6.19,0.92,0.19,"< LD",0.21,null,"ND"]
["URA02","2003-07-02","URAMITA",135.78,{"v":0.42890000000000006,"d":"0.43"},65.14,{"v":1.813847754228854,"d":"1.81"},{"v":-1.109069881393041,"d":"-1.11"},{"v":0.07779113689197882,"d":"0.08"},258,{"v":2.41161970596323,"d":"2.41"},{"v":-0.028429594009271142,"d":"-0.03"},{"v":0.9366350509131512,"d":"0.94"},{"v":0.48110872926837667,"d":"0.48"},7.06,{"v":0.7610712934866543,"d":"0.76"},{"v":76.10712934866542,"d":"76.11"},0.23892870651334575,0.56,-0.25181197299379954,0,1100,3.0413926851582245,0.263179903688606,{"v":0.16736953673398391,"d":"0.167"},5,0.005,"oligo",9,0,0.07,1.78,"C",0.85,"< LD",19.2,"ND",1100,235,9.33,0.16,0.17,1.3,0.32,null,"ND"]
["QSF01","2003-07-07","TURBO",215.36,{"v":0.8268000000000002,"d":"0.83"},78.38,{"v":1.8942052591420835,"d":"1.89"},{"v":-0.7554968597748317,"d":"-0.76"},{"v":0.17559135905246678,"d":"0.18"},520,{"v":2.716003343634799,"d":"2.72"},{"v":0.3794444804706312,"d":"0.38"},{"v":1,"d":"1.00"},{"v":0.6674637863508224,"d":"0.67"},6.83,{"v":0.8725246601659999,"d":"0.87"},{"v":87.2524660166,"d":"87.25"},0.12747533983400006,0.29,-0.5376020021010439,0,9000,3.9542425094393248,0.7743758052860223,{"v":0.3006170483733408,"d":"0.301"},61,0.061,"eutro",1,0,0.11,14.79,8.15,0.44,1.33,20.6,0.54,9000,377,28.33,1.76,0.54,"< LD","< LD",null,{"v":5.690294117647059,"d":"5.69"}]
["RT02","2003-07-07","TURBO",180.2,{"v":0.6509999999999999,"d":"0.65"},90.95,{"v":1.9588027033995024,"d":"1.96"},{"v":-0.4712681050421885,"d":"-0.47"},{"v":0.33785620146605605,"d":"0.34"},670,{"v":2.826074802700826,"d":"2.83"},{"v":0.5269402356191071,"d":"0.53"},{"v":1,"d":"1.00"},{"v":0.6629520671553519,"d":"0.66"},0.31,{"v":0.040304920096577206,"d":"0.04"},{"v":4.030492009657721,"d":"4.03"},0.9596950799034228,1.34,0.12710479836480765,0,17000,4.230448921378274,0.9290513959718338,{"v":0.6295821586250856,"d":"0.630"},50,{"v":0.05,"d":"0.050"},"eutro",25,0.095,0.14,20.99,8.19,6.07,3,147.6,{"v":1,"d":"1.00"},17000,552,255.28,4.04,1.15,4.89,0.33,null,{"v":4.903039215686274,"d":"4.90"}]
["RT03","2003-07-07","TURBO",192.6,{"v":0.713,"d":"0.71"},76.17,{"v":1.8817839555933844,"d":"1.88"},{"v":-0.810150595389107,"d":"-0.81"},{"v":0.15482796463835455,"d":"0.15"},700,{"v":2.8450980400142565,"d":"2.85"},{"v":0.552431373619104,"d":"0.55"},{"v":1,"d":"1.00"},{"v":0.6226093215461181,"d":"0.62"},5.99,{"v":0.7924463184878023,"d":"0.79"},{"v":79.24463184878023,"d":"79.24"},0.20755368151219766,0.66,-0.18045606445813128,0,50000,4.698970004336019,1,{"v":0.4025178938373992,"d":"0.403"},120,{"v":0.12,"d":"0.120"},"eutro",36,0.128,0.21,19.93,8.15,{"v":1,"d":"1.00"},2.8,162.5,1.08,50000,605,41.53,2.63,1.33,4.83,0.21,null,{"v":5.60813725490196,"d":"5.61"}]
["RT04","2003-07-07","TURBO",178.91,{"v":0.64455,"d":"0.64"},73.12,{"v":1.864036182725775,"d":"1.86"},{"v":-0.8882407960065901,"d":"-0.89"},{"v":0.1293478469194108,"d":"0.13"},1370,{"v":3.1367205671564067,"d":"3.14"},{"v":0.9432055599895852,"d":"0.94"},{"v":1,"d":"1.00"},{"v":0.5912992823064702,"d":"0.59"},0.19,{"v":0.025136026796775034,"d":"0.03"},{"v":2.5136026796775033,"d":"2.51"},0.9748639732032249,2.74,0.43775056282038793,0.25642539397427155,50000,4.698970004336019,1,{"v":0.7437631223924989,"d":"0.744"},5,0.005,"oligo",13,0.059,0.07,227.4,7.96,15.85,4.2,159.6,{"v":0.5,"d":"0.50"},50000,1109,20.21,2.18,0.65,3.33,0.24,null,{"v":8.302254901960783,"d":"8.30"}]
["CS01","2003-07-16","NECOCLÍ",42.93,{"v":0,"d":"0.00"},45.7,{"v":1.6599162000698502,"d":"1.66"},{"v":-1.7863687196926588,"d":"-1.79"},{"v":0.016354274400952117,"d":"0.02"},142,{"v":2.1522883443830563,"d":"2.15"},{"v":-0.37593361852670437,"d":"-0.38"},{"v":0.42079094093995056,"d":"0.42"},{"v":0.14571507178030088,"d":"0.15"},{"v":9.8,"d":"9.80"},{"v":1.3415399020396241,"d":"1.34"},{"v":134.15399020396242,"d":"134.15"},0,4.76,0.6776069527204931,0.4243248669043451,1600,3.2041199826559246,0.35430719028731805,{"v":0.2595440190638877,"d":"0.260"},5,0.005,"oligo",8,0,0.64,26.43,8.7,56.98,4,6.16,0.42,1600,144,4.34,1.36,"< LD","< LD",{"v":0.2,"d":"0.20"},null,"< LD"]
["CS02","2003-07-16","NECOCLÍ",35.63,{"v":0,"d":"0.00"},44.65,{"v":1.649821463224565,"d":"1.65"},{"v":-1.830785561811914,"d":"-1.83"},{"v":0.014764353612628412,"d":"0.01"},135,{"v":2.130333768495006,"d":"2.13"},{"v":-0.4053527502166916,"d":"-0.41"},{"v":0.3932305491526285,"d":"0.39"},{"v":0.1359983009217523,"d":"0.14"},6.44,{"v":0.8667376891359654,"d":"0.87"},{"v":86.67376891359653,"d":"86.67"},0.13326231086403462,4.78,0.6794278966121188,0.42559952762848313,160000,5.204119982655924,1,{"v":0.5196206128308392,"d":"0.520"},"<LD",{"$error":"#VALUE!"},"oligo",5,0,{"v":1,"d":"1.00"},26.44,8.89,56.92,4.1,6.24,1.2,"> 160000",142,10.19,0.61,0.68,1.57,0.18,null,"< LD"]
["CS03","2003-07-16","NECOCLÍ",34.26,{"v":0,"d":"0.00"},46.39,{"v":1.6664243725187595,"d":"1.67"},{"v":-1.7577327609174578,"d":"-1.76"},{"v":0.017468967589850937,"d":"0.02"},140,{"v":2.1461280356782377,"d":"2.15"},{"v":-0.38418843219116106,"d":"-0.38"},{"v":0.4128683273362363,"d":"0.41"},{"v":0.1434457649753624,"d":"0.14"},8.13,{"v":1.075557357146216,"d":"1.08"},{"v":107.5557357146216,"d":"107.56"},0,4.84,0.6848453616444125,0.4293917531510887,160000,5.204119982655924,1,{"v":0.47646391771702956,"d":"0.476"},"ND",{"$error":"#VALUE!"},"oligo",12,0.05600000000000001,0.77,27.26,8.76,60.19,3.5,6.88,0.75,160000,147,9.75,2.58,"< LD",1.13,0.09,null,"< LD"]
["CS04","2003-07-16","NECOCLÍ",35.32,{"v":0,"d":"0.00"},45.78,{"v":1.660675788338524,"d":"1.66"},{"v":-1.7830265313104938,"d":"-1.78"},{"v":0.016480617073715037,"d":"0.02"},145,{"v":2.1613680022349744,"d":"2.16"},{"v":-0.3637668770051339,"d":"-0.36"},{"v":0.4327460605253889,"d":"0.43"},{"v":0.14974222586636798,"d":"0.15"},9.24,{"v":1.2435801626733416,"d":"1.24"},{"v":124.35801626733416,"d":"124.36"},0,5.32,0.7259116322950482,0.4581381426065337,160000,5.204119982655924,1,{"v":0.48604604753551117,"d":"0.486"},"ND",{"$error":"#VALUE!"},"oligo",2,0,0.37,27.29,9.16,59.83,2.7,7.56,1.37,"> 160000",156,10,1.88,"ND",1.37,0.17,null,"< LD"]
["CS05","2003-07-16","NECOCLÍ",35.01,{"v":0,"d":"0.00"},45.65,{"v":1.6594407818703176,"d":"1.66"},{"v":-1.788460559770602,"d":"-1.79"},{"v":0.01627569115780808,"d":"0.02"},157,{"v":2.1958996524092336,"d":"2.20"},{"v":-0.31749446577162654,"d":"-0.32"},{"v":0.4813993884487522,"d":"0.48"},{"v":0.16589169320218675,"d":"0.17"},8.14,{"v":1.0955349052122296,"d":"1.10"},{"v":109.55349052122297,"d":"109.55"},0,5.48,0.7387805584843692,0.46714639093905846,160000,5.204119982655924,1,{"v":0.4890487969796862,"d":"0.489"},"ND",{"$error":"#VALUE!"},"oligo",6,0,{"v":1.2,"d":"1.20"},26.47,9.36,{"v":59.6,"d":"59.60"},3.2,{"v":6,"d":"6.00"},0.69,"> 160000",168,7.56,0.52,0.38,"ND",0.22,null,"< LD"]
["QC01","2003-07-22","CAREPA",71.45,{"v":0.10725000000000001,"d":"0.11"},80.62,{"v":1.906442793817032,"d":"1.91"},{"v":-0.7016517072050572,"d":"-0.70"},{"v":0.19876883523018363,"d":"0.20"},158,{"v":2.1986570869544226,"d":"2.20"},{"v":-0.3137995034810732,"d":"-0.31"},{"v":0.4855125903173786,"d":"0.49"},{"v":0.2638438085158541,"d":"0.26"},5.76,{"v":0.6714611765348303,"d":"0.67"},{"v":67.14611765348303,"d":"67.15"},0.3285388234651697,0.43,-0.36653154442041347,0,300,2.477121254719662,0,{"v":0.10951294115505657,"d":"0.110"},50,{"v":0.05,"d":"0.050"},"eutro",4,0,0.31,{"v":2,"d":"2.00"},7.95,11.37,0.5,3.11,0.08,300,113,9.3,3.02,"ND",1.83,0.25,null,"ND"]
["RC02","2003-07-22","CAREPA",109.64,{"v":0.2982,"d":"0.30"},128.82,{"v":2.109983294819892,"d":"2.11"},{"v":0.19392649720752608,"d":"0.19"},{"v":1,"d":"1.00"},255,{"v":2.4065401804339546,"d":"2.41"},{"v":-0.035236158218500346,"d":"-0.04"},{"v":0.9220698928096207,"d":"0.92"},{"v":0.7400899642698736,"d":"0.74"},7.15,{"v":0.9787765611819705,"d":"0.98"},{"v":97.87765611819705,"d":"97.88"},0.02122343881802946,1.04,0.017033339298780367,0,280000,5.4471580313422185,1,{"v":0.34040781293934314,"d":"0.340"},20,{"v":0.02,"d":"0.020"},"eutro",284,0.872,26.7,3.43,8.25,13.04,3,12.7,7.05,280000,463,34.61,4.5,0.15,20.69,0.28,null,"ND"]
["RC03","2003-07-21","CAREPA",108.08,{"v":0.2904,"d":"0.29"},117,{"v":2.0681858617461617,"d":"2.07"},{"v":0.01001779168311323,"d":"0.01"},{"v":1,"d":"1.00"},258,{"v":2.41161970596323,"d":"2.41"},{"v":-0.028429594009271142,"d":"-0.03"},{"v":0.9366350509131512,"d":"0.94"},{"v":0.7423450169710504,"d":"0.74"},4.64,{"v":0.5927546739634318,"d":"0.59"},{"v":59.27546739634318,"d":"59.28"},0.40724532603656816,0.62,-0.2076083105017461,0,8000,3.9030899869919433,0.7457303927154886,{"v":0.3843252395840189,"d":"0.384"},42,0.042,"eutro",307,0.9410000000000001,29.3,3.19,{"v":8.2,"d":"8.20"},13.06,{"v":1.7,"d":"1.70"},15,5.76,8000,524,22.02,4.63,"< LD",17.41,0.27,null,"ND"]
["RC04","2003-07-21","CAREPA",116.06,{"v":0.33030000000000004,"d":"0.33"},78.18,{"v":1.8930956660962281,"d":"1.89"},{"v":-0.7603790691765955,"d":"-0.76"},{"v":0.17362846701280374,"d":"0.17"},260,{"v":2.4149733479708178,"d":"2.41"},{"v":-0.023935713719103635,"d":"-0.02"},{"v":0.9463772381406115,"d":"0.95"},{"v":0.48343523505113845,"d":"0.48"},6.13,{"v":0.7692731032782684,"d":"0.77"},{"v":76.92731032782683,"d":"76.93"},0.23072689672173163,3.02,0.48000694295715063,0.2860048600700054,16000000,7.204119982655924,1,{"v":0.5055772522639124,"d":"0.506"},52,0.052,"eutro",326,0.998,130.7,4.07,7.97,25.97,{"v":6.1,"d":"6.10"},14,6.54,"> 16000000",477,28.52,6.37,0.26,27.9,0.03,null,"ND"]
["RCHI08","2003-07-28","CHIGORODO",61.22,{"v":0.05609999999999998,"d":"0.06"},91.14,{"v":1.95970902424643,"d":"1.96"},{"v":-0.4672802933157083,"d":"-0.47"},{"v":0.340972777031155,"d":"0.34"},130,{"v":2.1139433523068365,"d":"2.11"},{"v":-0.4273159079088389,"d":"-0.43"},{"v":0.3738385573691238,"d":"0.37"},{"v":0.2569704448000929,"d":"0.26"},6.91,{"v":0.867157772210903,"d":"0.87"},{"v":86.71577722109029,"d":"86.72"},0.13284222778909704,0.96,-0.017728766960431602,0,90000,4.954242509439324,1,{"v":0.377614075929699,"d":"0.378"},"ND",{"$error":"#VALUE!"},"oligo",72,0.236,{"v":5.7,"d":"5.70"},2.34,7.56,8.96,{"v":9.2,"d":"9.20"},"ND",{"v":3.7,"d":"3.70"},90000,152,17.15,2.27,0.2,8.68,0.38,null,"ND"]
["RCHI07","2003-07-28","CHIGORODO",64.96,{"v":0.07479999999999998,"d":"0.07"},68,{"v":1.8325089127062362,"d":"1.83"},{"v":-1.0269607840925605,"d":"-1.03"},{"v":0.09398081694974275,"d":"0.09"},130,{"v":2.1139433523068365,"d":"2.11"},{"v":-0.4273159079088389,"d":"-0.43"},{"v":0.3738385573691238,"d":"0.37"},{"v":0.1808731247729555,"d":"0.18"},0.03,{"v":0.0037647949589474797,"d":"0.00"},{"v":0.376479495894748,"d":"0.38"},0.9962352050410526,0.49,-0.3098039199714863,0,160000,5.204119982655924,1,{"v":0.6654117350136841,"d":"0.665"},"ND",{"$error":"#VALUE!"},"oligo",26,0.098,{"v":2.9,"d":"2.90"},2.45,7.58,4.61,21.6,"ND",{"v":2.9,"d":"2.90"},160000,100,11.76,2.18,0.27,5.64,0.34,null,"ND"]
["RCHI06","2003-07-29","CHIGORODO",69.95,{"v":0.09975,"d":"0.10"},93.39,{"v":1.9703003754021775,"d":"1.97"},{"v":-0.4206783482304175,"d":"-0.42"},{"v":0.3795960213063305,"d":"0.38"},145,{"v":2.1613680022349744,"d":"2.16"},{"v":-0.3637668770051339,"d":"-0.36"},{"v":0.4327460605253889,"d":"0.43"},{"v":0.30403069394390647,"d":"0.30"},0.31,{"v":0.03960214416566032,"d":"0.04"},{"v":3.9602144165660316,"d":"3.96"},0.9603978558343397,1.54,0.18752072083646307,0,500000,5.698970004336018,1,{"v":0.6534659519447799,"d":"0.653"},"ND",{"$error":"#VALUE!"},"oligo",24,0.09200000000000001,2.73,2.5,7.96,16.4,{"v":5.8,"d":"5.80"},"ND",1.04,500000,545,13.6,2.21,0.15,6.34,0.27,null,"ND"]
["RCHI05","2003-07-29","CHIGORODO",68.85,{"v":0.09425,"d":"0.09"},73.53,{"v":1.8664645659717403,"d":"1.87"},{"v":-0.8775559097243413,"d":"-0.88"},{"v":0.13256964407273467,"d":"0.13"},143,{"v":2.1553360374650614,"d":"2.16"},{"v":-0.3718497097968174,"d":"-0.37"},{"v":0.42476653151430255,"d":"0.42"},{"v":0.21719539186234574,"d":"0.22"},"ND",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},1,{"v":0.1,"d":"0.10"},-0.9999999999999998,0,4000,3.602059991327962,0.5771535951436588,{"v":0.5257178650478862,"d":"0.526"},"ND",{"$error":"#VALUE!"},"oligo",4,0,0.77,2.54,8.04,1.07,23.6,"ND",0.23,4000,84,32.79,5.49,0.71,6.82,0.04,null,"ND"]
["RCHI04","2003-07-29","CHIGORODO",93.58,{"v":0.21789999999999998,"d":"0.22"},81.74,{"v":1.9124346333755746,"d":"1.91"},{"v":-0.6752876131474714,"d":"-0.68"},{"v":0.21120898371678035,"d":"0.21"},186,{"v":2.2695129442179165,"d":"2.27"},{"v":-0.21885265474799143,"d":"-0.22"},{"v":0.6041535687994583,"d":"0.60"},{"v":0.3444208508387462,"d":"0.34"},0.35,{"v":0.04471209825155197,"d":"0.04"},{"v":4.4712098251551975,"d":"4.47"},0.955287901748448,0.08,-1.0969100130080565,0,2000,3.301029995663981,0.4085767975718295,{"v":0.45462156644009255,"d":"0.455"},"ND",{"$error":"#VALUE!"},"oligo",4,0,{"v":1.8,"d":"1.80"},2.39,8.13,0.85,{"v":11,"d":"11.0"},"ND",0.08,2000,104,9.96,1.75,"< LD",2.54,0.32,null,"ND"]
["RCHI03","2003-07-30","CHIGORODO",109.37,{"v":0.29685000000000006,"d":"0.30"},76.87,{"v":1.885756881069267,"d":"1.89"},{"v":-0.7926697232952247,"d":"-0.79"},{"v":0.1611870981299656,"d":"0.16"},165,{"v":2.217483944213906,"d":"2.22"},{"v":-0.28857151475336584,"d":"-0.29"},{"v":0.5145510695273625,"d":"0.51"},{"v":0.32419605588577605,"d":"0.32"},"NR",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},1,"ND",{"$error":"#VALUE!"},0,22000,4.342422680822206,1,{"v":0.6666666666666666,"d":"0.667"},"ND",{"$error":"#VALUE!"},"oligo",6,0,0.45,1.4,{"v":8.3,"d":"8.30"},"ND",3.6,"ND",0.53,22000,215,11.72,1.48,0.18,3.16,0.21,null,"ND"]
["RC05","2003-08-11","CAREPA",130.32,{"v":0.40159999999999996,"d":"0.40"},88.18,{"v":1.9453700944903036,"d":"1.95"},{"v":-0.5303715842426637,"d":"-0.53"},{"v":0.2948685239171155,"d":"0.29"},275,{"v":2.4393326938302624,"d":"2.44"},{"v":0.008705809732552083,"d":"0.01"},{"v":1,"d":"1.00"},{"v":0.5654895079723717,"d":"0.57"},6.74,{"v":0.8916674768961249,"d":"0.89"},{"v":89.16674768961249,"d":"89.17"},0.10833252310387509,0.88,-0.05551732784983136,0,50000,4.698970004336019,1,{"v":0.3694441743679584,"d":"0.369"},"ND",{"$error":"#VALUE!"},"oligo",52,0.176,3.47,7.1,{"v":8.1,"d":"8.10"},10.2,{"v":20,"d":"20.0"},14.64,{"v":2.3,"d":"2.30"},50000,273,14.74,2.45,0.29,4.71,null,null,"< LD"]
["RA10","2003-08-11","APARTADO",169.92,{"v":0.5995999999999999,"d":"0.60"},73.64,{"v":1.867113779831977,"d":"1.87"},{"v":-0.8746993687393001,"d":"-0.87"},{"v":0.1334444854022816,"d":"0.13"},350,{"v":2.5440680443502752,"d":"2.54"},{"v":0.14905117942936918,"d":"0.15"},{"v":1,"d":"1.00"},{"v":0.5776814951340938,"d":"0.58"},3.46,{"v":0.4577402774570611,"d":"0.46"},{"v":45.77402774570611,"d":"45.77"},0.5422597225429389,3.18,0.5024271199844327,0.3016989839891029,170000,5.230448921378273,1,{"v":0.6146529021773472,"d":"0.615"},197,0.197,"eutro",11,0.053000000000000005,0.46,1.02,7.76,9.18,32.4,33.76,0.42,170000,278,44.59,{"v":2.2,"d":"2.20"},0.19,1.08,null,null,1.96]
["AC01","2003-08-04","SAN PEDRO",44.19,{"v":0,"d":"0.00"},78.66,{"v":1.8957539420737277,"d":"1.90"},{"v":-0.7486826548755978,"d":"-0.75"},{"v":0.1783681652799494,"d":"0.18"},155,{"v":2.1903316981702914,"d":"2.19"},{"v":-0.3249555244518092,"d":"-0.32"},{"v":0.47319971626421065,"d":"0.47"},{"v":0.21718929384805333,"d":"0.22"},4.22,{"v":0.5153870142424398,"d":"0.52"},{"v":51.53870142424398,"d":"51.54"},0.4846129857575602,2.16,0.3344537511509309,0.1841176258056516,11000,4.0413926851582245,0.8231799036886058,{"v":0.49730350508393917,"d":"0.497"},"ND",{"$error":"#VALUE!"},"oligo",0,0,1.95,24.05,6.93,21.47,{"v":9,"d":"9.00"},"ND",2.94,11000,182,12.51,1.51,0.19,"< LD",null,null,"< LD"]
["AC02","2003-08-04","SAN PEDRO",40.15,{"v":0,"d":"0.00"},82.82,{"v":1.9181352261663591,"d":"1.92"},{"v":-0.6502050048680186,"d":"-0.65"},{"v":0.22376646194405123,"d":"0.22"},115,{"v":2.0606978403536114,"d":"2.06"},{"v":-0.4986648939261604,"d":"-0.50"},{"v":0.31720140775816974,"d":"0.32"},{"v":0.18032262323407366,"d":"0.18"},5.42,{"v":0.6680053870164271,"d":"0.67"},{"v":66.80053870164271,"d":"66.80"},0.3319946129835729,0.28,-0.5528419686577807,0,300,2.477121254719662,0,{"v":0.1106648709945243,"d":"0.111"},"ND",{"$error":"#VALUE!"},"oligo",2,0,0.09,14.41,6.82,2.82,{"v":1.7,"d":"1.70"},"ND",0.97,300,160,10.29,1.37,"< LD","< LD",null,null,"< LD"]
["AC03","2003-08-04","SAN PEDRO",48.47,{"v":0,"d":"0.00"},68.75,{"v":1.8372727025023001,"d":"1.84"},{"v":-1.0060001089898787,"d":"-1.01"},{"v":0.09862792381160508,"d":"0.10"},126,{"v":2.1003705451175625,"d":"2.10"},{"v":-0.4455034695424658,"d":"-0.45"},{"v":0.3585060841898494,"d":"0.36"},{"v":0.15237800266715149,"d":"0.15"},5.98,{"v":0.7370243937930322,"d":"0.74"},{"v":73.70243937930321,"d":"73.70"},0.2629756062069678,1.48,0.17026171539495735,0,50000,4.698970004336019,1,{"v":0.42099186873565586,"d":"0.421"},"ND",{"$error":"#VALUE!"},"oligo",21,0.083,1.67,14.64,7.22,{"v":14.9,"d":"14.90"},{"v":3.5,"d":"3.50"},"ND",0.73,50000,163,20.76,9.84,"< LD",1.75,null,null,"< LD"]
["AC04","2003-08-04","SAN PEDRO",36.57,{"v":0,"d":"0.00"},77.27,{"v":1.8880109122450286,"d":"1.89"},{"v":-0.7827519861218732,"d":"-0.78"},{"v":0.16491038814677395,"d":"0.16"},100,{"v":2,"d":"2.00"},{"v":-0.5799999999999996,"d":"-0.58"},{"v":0.26302679918953836,"d":"0.26"},{"v":0.1426457291121041,"d":"0.14"},4.83,{"v":0.6061319883905443,"d":"0.61"},{"v":60.61319883905443,"d":"60.61"},0.3938680116094557,{"v":2.3,"d":"2.30"},0.3617278360175928,0.20320948521231497,8000,3.9030899869919433,0.7457303927154886,{"v":0.44760262984575305,"d":"0.448"},"ND",{"$error":"#VALUE!"},"oligo",0,0,0.46,11.3,6.87,2.84,{"v":7.4,"d":"7.40"},"ND","ND",8000,158,11.06,3.35,0.24,1.01,null,null,"< LD"]
["AC05","2003-08-04","SAN PEDRO",37.21,{"v":0,"d":"0.00"},58.31,{"v":1.7657430414210442,"d":"1.77"},{"v":-1.3207306177474045,"d":"-1.32"},{"v":0.047782556527664125,"d":"0.05"},118,{"v":2.0718820073061255,"d":"2.07"},{"v":-0.48367811020979135,"d":"-0.48"},{"v":0.3283385604749541,"d":"0.33"},{"v":0.1253737056675394,"d":"0.13"},5.98,{"v":0.7303351528838367,"d":"0.73"},{"v":73.03351528838367,"d":"73.03"},0.26966484711616334,1.93,0.2855573090077737,0,80000,4.903089986991943,1,{"v":0.42322161570538774,"d":"0.423"},"ND",{"$error":"#VALUE!"},"oligo",3,0,0.52,2.55,7.07,19.3,15.7,"ND",0.42,80000,148,11.74,2.36,0.14,1.21,null,null,"< LD"]
["RSJ01",null,"SAN JUAN",null,-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"$error":"#REF!"},{"$nulls":3},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.000"},null,null,0.02]
["RSJ03",null,"SAN JUAN",null,-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"$error":"#REF!"},{"$nulls":3},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.000"},null,null,0.02]
["RSJ04",null,"SAN JUAN",null,-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"$error":"#REF!"},{"$nulls":3},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.000"},null,null,0.02]
["RSJ05",null,"SAN JUAN",null,-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"$error":"#REF!"},{"$nulls":3},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.000"},null,null,0.02]
[{"$nulls":4},-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"$error":"#REF!"},{"$nulls":3},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.000"},null,null,0.02]
[{"$nulls":4},-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},{"$nulls":6},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.000"},null,null,0.02]
[{"$nulls":4},-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},{"$nulls":6},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.000"},null,null,0.02]
[{"$nulls":4},-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},{"$nulls":6},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.000"},null,null,0.02]
[{"$nulls":4},-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},{"$nulls":6},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.000"},null,null,0.02]
[{"$nulls":4},-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},{"$nulls":6},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.000"},null,null,0.02]
[{"$nulls":4},-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},{"$nulls":6},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.000"},null,null,0.02]
[{"$nulls":4},-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},{"$nulls":6},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.000"},null,null,0.02]
[{"$nulls":4},-0.25,null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},{"$error":"#NUM!"},{"$nulls":6},{"$error":"#NUM!"},{"$error":"#NUM!"},null,{"$error":"#NUM!"},{"$error":"#NUM!"},null,null,{"v":0,"d":"0.00"},null,null,0.02]

{"sheet":"PARAM REQ","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"EJEMPLOS","index":6,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}